## Proposed Measure List
Flag | Notes | Sector | End Use | Savings (Fuel Type) | Fuel Sub Tech Group? | Technology Group | Technology | Base Year Efficiency Level | Replacement Type ROB = Replace on Burnout i.e. Normal Replacement (NR) NEW = New Construction (NC) RET = Retrofit i.e. Accelerated Replacement (AR) or Add-on Equipment (AOE) | Stakeholder Comments
Technology Group Added | Based on SWAP012 | Com | AppPlug | Gas | FALSE | Com Gas Dryer Modulating Valve | Com Non-Modulating Dryer Valve | Average Existing | RET Only
Technology Group Added | Based on SWAP012 | Com | AppPlug | Gas | FALSE | Com Gas Dryer Modulating Valve | Com Modulating Dryer Valve | Efficient | RET Only
|  | Com | AppPlug | Gas | FALSE | Com Pool Cover | No Pool Cover | Average Existing and Code | RET and NEW
|  | Com | AppPlug | Gas | FALSE | Com Pool Cover | Pool Cover | Efficient | RET and NEW
|  | Com | AppPlug | Gas | FALSE | Com Process Laundry | Average Existing Commercial Process Washer | Average Existing and Code | RET and NEW
|  | Com | AppPlug | Gas | FALSE | Com Process Laundry | Ozone Laundry System Retrofit | Efficient | RET and NEW
|  | Com | BldgEnv | Electric & Gas | FALSE | Com Wall Insulation | Com Wall Insulation (R0) | Average Existing | RET Only
|  | Com | BldgEnv | Electric & Gas | FALSE | Com Wall Insulation | Com Wall Insulation (R13) | Code | RET and NEW
|  | Com | BldgEnv | Electric & Gas | FALSE | Com Wall Insulation | Com Wall Insulation (R14) | Efficient | RET and NEW
|  | Com | ComRefrig | Electric & Gas | FALSE | ComRefrig - Add Doors to Open Display Cases | Open Display Cases (no doors) | Average Existing | RET Only
|  | Com | ComRefrig | Electric & Gas | FALSE | ComRefrig - Add Doors to Open Display Cases | Add Doors to Open Display Cases | Efficient | RET Only
|  | Com | ComRefrig | Electric | FALSE | ComRefrig - Anti Sweat Heat Controls | No Walk-in Anti Sweat Heat Controls | Average Existing | RET Only
|  | Com | ComRefrig | Electric | FALSE | ComRefrig - Anti Sweat Heat Controls | Walk-in Anti Sweat Heat Controls | Efficient | RET Only
|  | Com | ComRefrig | Electric | FALSE | ComRefrig - Compressor Retrofit | Average Existing Refrigeration Compressor | Average Existing | RET Only
|  | Com | ComRefrig | Electric | FALSE | ComRefrig - Compressor Retrofit | Efficient Refrigeration Compressor | Efficient | RET Only
|  | Com | ComRefrig | Electric | FALSE | ComRefrig - Display Case Lighting Retrofit | Refrigerated Display Case Fluorescent Lighting | Average Existing and Code | RET Only
|  | Com | ComRefrig | Electric | FALSE | ComRefrig - Display Case Lighting Retrofit | Refrigerated Display Case LED Lighting | Efficient | RET Only
|  | Com | ComRefrig | Electric | FALSE | ComRefrig - Display Case Motors | Shaded Pole Motor on Display Cases | Average Existing | RET Only
|  | Com | ComRefrig | Electric | FALSE | ComRefrig - Display Case Motors | Permanent Split Capacitor Motor on Display Cases | Code | RET Only
|  | Com | ComRefrig | Electric | FALSE | ComRefrig - Display Case Motors | EC Motors on Display Cases | Efficient | RET Only
|  | Com | ComRefrig | Electric | FALSE | ComRefrig - Display Case Replacement | Code Compliant Refrigerated Display Case | Code | ROB and NEW
|  | Com | ComRefrig | Electric | FALSE | ComRefrig - Display Case Replacement | Efficient Refrigerated Display Case | Efficient | ROB and NEW
|  | Com | ComRefrig | Electric | FALSE | ComRefrig - Floating Head Pressure Controls | No Floating Head Pressure Controls | Average Existing | RET Only
|  | Com | ComRefrig | Electric | FALSE | ComRefrig - Floating Head Pressure Controls | Floating Head Pressure Controls | Efficient | RET Only
Technology Group Added | Based on SWCR017 | Com | ComRefrig | Electric | FALSE | ComRefrig - Ultra-Low Temp Freezer | Standard/Code ULT Freezer | Average Existing and Code | ROB and NEW
Technology Group Added | Based on SWCR017 | Com | ComRefrig | Electric | FALSE | ComRefrig - Ultra-Low Temp Freezer | ENERGY STAR ULT Freezer | Efficient | ROB and NEW
|  | Com | ComRefrig | Electric | FALSE | ComRefrig - Walk-In Motors | SP / PSC Motor on Walk-In Evap Fans | Average Existing | RET Only
|  | Com | ComRefrig | Electric | FALSE | ComRefrig - Walk-In Motors | EC Motors on Walk-In Evap Fans | Code | RET and NEW
Technology Group Added | Based on SWFS023 | Com | FoodServ | Electric | FALSE | Com Contact Conveyor Toaster | Standard Performance Conveyor Toaster | Average Existing and Code | ROB and NEW
Technology Group Added | Based on SWFS023 | Com | FoodServ | Electric | FALSE | Com Contact Conveyor Toaster | High Performance Conveyor Toaster | Efficient | ROB and NEW
|  | Com | FoodServ | Electric & Gas | FALSE | Com DCV Exhaust Hood | Standard Commercial Kitchen Exhaust Hood | Average Existing and Code | NEW Only
|  | Com | FoodServ | Electric & Gas | FALSE | Com DCV Exhaust Hood | Demand Controlled Ventilation (DCV) Exhaust Hood | Efficient | NEW Only
|  | Com | FoodServ | Electric & Gas | FALSE | Com DCV Exhaust Hood-Ret | Standard Commercial Kitchen Exhaust Hood - Retrofit | Average Existing and Code | RET Only
|  | Com | FoodServ | Electric & Gas | FALSE | Com DCV Exhaust Hood-Ret | Demand Controlled Ventilation (DCV) Exhaust Hood - Retrofit | Efficient | RET Only
Technology Group Added | Based on SWFS009 | Com | FoodServ | Electric | FALSE | Com Deck Ovens, Electric | Electric Deck Oven (40% cooking efficiency) | Average Existing and Code | ROB Only
Technology Group Added | Based on SWFS009 | Com | FoodServ | Electric | FALSE | Com Deck Ovens, Electric | Electric Deck Oven (60% cooking efficiency) | Efficient | ROB Only
|  | Com | FoodServ | Electric & Gas | FALSE | Com Dishwashers | Standard Dishwasher | Average Existing and Code | ROB and NEW
|  | Com | FoodServ | Electric & Gas | FALSE | Com Dishwashers | ENERGY STAR Dishwasher - Tier 1 | Efficient | ROB and NEW
|  | Com | FoodServ | Electric & Gas | FALSE | Com Dishwashers | ENERGY STAR Dishwasher - Tier 2 | Efficient | ROB and NEW
|  | Com | FoodServ | Electric | FALSE | Com Electric Combination Ovens | Standard Combination Oven - Electric | Average Existing and Code | ROB and NEW
|  | Com | FoodServ | Electric | FALSE | Com Electric Combination Ovens | ENERGY STAR Combination Oven - Electric | Efficient | ROB and NEW
|  | Com | FoodServ | Electric | FALSE | Com Electric Convection Ovens | Standard Convection Oven - Electric | Average Existing and Code | ROB and NEW
|  | Com | FoodServ | Electric | FALSE | Com Electric Convection Ovens | ENERGY STAR Convection Oven - Electric | Efficient | ROB and NEW
|  | Com | FoodServ | Electric | FALSE | Com Electric Fryers | Standard Fryer - Electric | Average Existing and Code | ROB and NEW
|  | Com | FoodServ | Electric | FALSE | Com Electric Fryers | ENERGY STAR Fryer - Electric | Efficient | ROB and NEW
|  | Com | FoodServ | Electric | FALSE | Com Electric Griddles | Standard Griddle - Electric | Average Existing and Code | ROB and NEW
|  | Com | FoodServ | Electric | FALSE | Com Electric Griddles | ENERGY STAR Griddle - Electric | Efficient | ROB and NEW
|  | Com | FoodServ | Electric | FALSE | Com Electric Steamers | Standard Steamer - Electric | Average Existing and Code | ROB and NEW
|  | Com | FoodServ | Electric | FALSE | Com Electric Steamers | ENERGY STAR Steamer - Electric | Efficient | ROB and NEW
|  | Com | FoodServ | Electric & Gas | FALSE | Com Gas Broilers | Standard Conveyor Broiler - Gas | Average Existing and Code | ROB and NEW
|  | Com | FoodServ | Electric & Gas | FALSE | Com Gas Broilers | ENERGY STAR Conveyor Broiler - Gas | Efficient | ROB and NEW
|  | Com | FoodServ | Electric & Gas | TRUE | Com Gas Combination Ovens | Standard Combination Oven - Gas | Average Existing and Code | ROB and NEW
|  | Com | FoodServ | Electric & Gas | TRUE | Com Gas Combination Ovens | ENERGY STAR Combination Oven - Gas | Efficient | ROB and NEW
|  | Com | FoodServ | Electric & Gas | TRUE | Com Gas Combination Ovens | ENERGY STAR Combination Oven - Fuel Sub | Efficient | ROB Only
|  | Com | FoodServ | Electric & Gas | TRUE | Com Gas Convection Ovens | Standard Convection Oven - Gas | Average Existing and Code | ROB and NEW
|  | Com | FoodServ | Electric & Gas | TRUE | Com Gas Convection Ovens | ENERGY STAR Convection Oven - Gas | Efficient | ROB and NEW
|  | Com | FoodServ | Electric & Gas | TRUE | Com Gas Convection Ovens | ENERGY STAR Convection Oven - Fuel Sub | Efficient | ROB Only
|  | Com | FoodServ | Gas | FALSE | Com Gas Conveyor Ovens | Standard Conveyor Oven - Gas | Average Existing and Code | ROB and NEW
|  | Com | FoodServ | Gas | FALSE | Com Gas Conveyor Ovens | ENERGY STAR Conveyor Oven - Gas | Efficient | ROB and NEW
|  | Com | FoodServ | Electric & Gas | TRUE | Com Gas Fryers | Standard Fryer - Gas | Average Existing and Code | ROB and NEW
|  | Com | FoodServ | Electric & Gas | TRUE | Com Gas Fryers | ENERGY STAR Fryer - Tier 1 Gas | Efficient | ROB and NEW
|  | Com | FoodServ | Electric & Gas | TRUE | Com Gas Fryers | ENERGY STAR Fryer - Tier 2 Gas | Efficient | ROB and NEW
|  | Com | FoodServ | Electric & Gas | TRUE | Com Gas Fryers | ENERGY STAR Fryer - Fuel Sub | Efficient | ROB Only
|  | Com | FoodServ | Electric & Gas | TRUE | Com Gas Griddles | Standard Griddle - Gas | Average Existing and Code | ROB and NEW
|  | Com | FoodServ | Electric & Gas | TRUE | Com Gas Griddles | ENERGY STAR Griddle - Gas | Efficient | ROB and NEW
|  | Com | FoodServ | Electric & Gas | TRUE | Com Gas Griddles | ENERGY STAR Griddle - Fuel Sub | Efficient | ROB Only
|  | Com | FoodServ | Gas | FALSE | Com Gas Rack Ovens | Standard Rack Oven - Gas | Average Existing and Code | ROB and NEW
|  | Com | FoodServ | Gas | FALSE | Com Gas Rack Ovens | ENERGY STAR Rack Oven - Gas | Efficient | ROB and NEW
|  | Com | FoodServ | Electric & Gas | TRUE | Com Gas Steamers | Standard Steamer - Gas | Average Existing and Code | ROB and NEW
|  | Com | FoodServ | Electric & Gas | TRUE | Com Gas Steamers | ENERGY STAR Steamer - Gas | Efficient | ROB and NEW
|  | Com | FoodServ | Electric & Gas | TRUE | Com Gas Steamers | ENERGY STAR Steamer - Fuel Sub | Efficient | ROB Only
Technology Group Added | Based on SWFS006 | Com | FoodServ | Electric | FALSE | Com Ice Machines | Standard/Code Ice Machine | Average Existing and Code | ROB and NEW
Technology Group Added | Based on SWFS006 | Com | FoodServ | Electric | FALSE | Com Ice Machines | ENERGY STAR Ice Machine | Efficient | ROB and NEW
Technology Group Added | Based on SWFS007 | Com | FoodServ | Electric | FALSE | Com Insulated Hot Food Holding Cabinets | Standard/Code Food Holding Cabinet | Average Existing and Code | ROB and NEW
Technology Group Added | Based on SWFS007 | Com | FoodServ | Electric | FALSE | Com Insulated Hot Food Holding Cabinets | Efficient Food Holding Cabinet | Efficient | ROB and NEW
|  | Com | HVAC | Electric & Gas | TRUE | Com Central HVAC (Large) - Fuel Sub | Large Code HVAC System Integrated Furnace and AC | Average Existing and Code | ROB Only
|  | Com | HVAC | Electric & Gas | TRUE | Com Central HVAC (Large) - Fuel Sub | Large Packaged Heat Pump (IEER 14.0) - Fuel Sub | Efficient | ROB Only
|  | Com | HVAC | Electric & Gas | TRUE | Com Central HVAC (Small) - Fuel Sub | Small Code HVAC System Integrated Furnace and AC | Average Existing and Code | ROB Only
|  | Com | HVAC | Electric & Gas | TRUE | Com Central HVAC (Small) - Fuel Sub | Small Packaged Heat Pump (SEER 15) - Fuel Sub | Efficient | ROB Only
|  | Com | HVAC | Electric & Gas | TRUE | Com Central HVAC (Small) - Fuel Sub | Small Packaged Heat Pump (SEER 16) - Fuel Sub | Efficient | ROB Only
|  | Com | HVAC | Electric & Gas | TRUE | Com Central HVAC (Small) - Fuel Sub | Small Packaged Heat Pump (SEER 17) - Fuel Sub | Efficient | ROB Only
|  | Com | HVAC | Electric | FALSE | Com Chillers | Code Compliant Chiller | Average Existing and Code | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Com Chillers | Efficient Chiller | Efficient | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Com Economizers | No Economizer | Average Existing and Code | RET and NEW
|  | Com | HVAC | Electric | FALSE | Com Economizers | Economizer | Efficient | RET and NEW
|  | Com | HVAC | Electric & Gas | FALSE | Com EMS (Elec/Gas) | No HVAC EMS (Elec SC and Gas SH) | Average Existing and Code | RET and NEW
|  | Com | HVAC | Electric & Gas | FALSE | Com EMS (Elec/Gas) | HVAC Energy Management System (Elec SC and Gas SH) | Efficient | RET and NEW
|  | Com | HVAC | Gas | FALSE | Com Furnaces | Com Code Furnace (81 AFUE) | Average Existing and Code | ROB and NEW
Adjusted Definition | Updated AFUE efficiency | Com | HVAC | Gas | FALSE | Com Furnaces | Com High Eff. Furnace (95 AFUE) | Efficient | ROB and NEW
|  | Com | HVAC | Gas | FALSE | Com HVAC Boilers | Code Hot Water Boiler (84% eff.) | Average Existing and Code | ROB and NEW
|  | Com | HVAC | Gas | FALSE | Com HVAC Boilers | Efficient Hot Water Boilers (94% eff.) | Efficient | ROB and NEW
|  | Com | HVAC | Electric & Gas | FALSE | Com HVAC DCV | No HVAC DCV | Average Existing and Code | RET and NEW
|  | Com | HVAC | Electric & Gas | FALSE | Com HVAC DCV | Demand Controlled Ventilation (HVAC) | Efficient | RET and NEW
|  | Com | HVAC | Electric | FALSE | Com HVAC Fan VFD | HVAC Fan with no VFD | Average Existing and Code | RET Only
|  | Com | HVAC | Electric | FALSE | Com HVAC Fan VFD | HVAC Fan Variable Frequency Drive (VFD) | Efficient | RET Only
|  | Com | HVAC | Gas | FALSE | Com HVAC Heat Recovery | No Heat Recovery or ERV | Average Existing and Code | ROB and NEW
|  | Com | HVAC | Gas | FALSE | Com HVAC Heat Recovery | HVAC Heat Recovery/Energy Recovery Ventilator (ERV) | Efficient | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Com HVAC Pump VFD | HVAC Pump with no VFD | Average Existing and Code | RET Only
|  | Com | HVAC | Electric | FALSE | Com HVAC Pump VFD | HVAC Pump Variable Frequency Drive (VFD) | Efficient | RET Only
|  | Com | HVAC | Electric | FALSE | Com Mini Split Heat Pumps | Ductless Mini Split Heat Pump (SEER 14) | Code | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Com Mini Split Heat Pumps | Ductless Mini Split Heat Pump (SEER 18) | Efficient | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Com Mini Split Heat Pumps | Variable Refrigerant Flow (VRF) Heat Pump | Efficient | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Com Unitary AC (Large) | Large Unitary AC (EER 9.8) | Average Existing and Code | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Com Unitary AC (Large) | Large Unitary AC (EER 10.8) | Efficient | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Com Unitary AC (Large) | Large Unitary AC (EER 11.5) | Efficient | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Com Unitary AC (Small) | Small Unitary AC (SEER 14) | Average Existing and Code | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Com Unitary AC (Small) | Small Unitary AC (SEER 15) | Efficient | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Com Unitary AC (Small) | Small Unitary AC (SEER 16) | Efficient | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Com Unitary AC (Small) | Small Unitary AC (SEER 17) | Efficient | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Com Unitary AC (Small) | Small Unitary AC (SEER 18) | Efficient | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Com Unitary Heat Pump (Large) | Large Unitary Heat Pump (EER 9.3, COP 3.2) | Average Existing and Code | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Com Unitary Heat Pump (Large) | Large Unitary Heat Pump (EER 9.7, COP 3.3) | Efficient | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Com Unitary Heat Pump (Large) | Large Unitary Heat Pump (EER 10.0, COP 3.3) | Efficient | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Com Unitary Heat Pump (Small) | Small Unitary Heat Pump (SEER 14) | Average Existing and Code | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Com Unitary Heat Pump (Small) | Small Unitary Heat Pump (SEER 15) | Efficient | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Com Unitary Heat Pump (Small) | Small Unitary Heat Pump (SEER 16) | Efficient | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Com Unitary Heat Pump (Small) | Small Unitary Heat Pump (SEER 17) | Efficient | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Com Unitary Heat Pump (Small) | Small Unitary Heat Pump (SEER 18) | Efficient | ROB and NEW
|  | Com | Lighting | Electric | FALSE | Com LED Fixtures | LED Fixtures and Retrofit Kits - 95 lpw | Code | ROB and NEW
|  | Com | Lighting | Electric | FALSE | Com LED Fixtures | LED Fixtures and Retrofit Kits - 125 lpw | Efficient | ROB and NEW
|  | Com | Lighting | Electric | FALSE | Com LED Fixtures | LED Fixtures and Retrofit Kits - 140 lpw | Efficient | ROB and NEW
|  | Com | Lighting | Electric | FALSE | Com LED Fixtures - RET | LED Fixtures and Retrofit Kits - 60 lpw - RET | Average Existing | RET Only
|  | Com | Lighting | Electric | FALSE | Com LED Fixtures - RET | LED Fixtures and Retrofit Kits - 125 lpw - RET | Efficient | RET Only
|  | Com | Lighting | Electric | FALSE | Com LED Fixtures - RET | LED Fixtures and Retrofit Kits - 140 lpw - RET | Efficient | RET Only
|  | Com | Lighting | Electric | FALSE | Com LED High and Low Bay | LED High and Low Bay - 141 lpw | Average Existing and Code | ROB Only
|  | Com | Lighting | Electric | FALSE | Com LED High and Low Bay | LED High and Low Bay - 155 lpw | Efficient | ROB Only
|  | Com | WaterHeat | Electric | FALSE | Com Elec Water Heaters | Com Electric Storage Water Heater (0.92 UEF - 50 Gal) | Average Existing and Code | ROB and NEW
|  | Com | WaterHeat | Electric | FALSE | Com Elec Water Heaters | Com Heat Pump Water Heater (3.3 UEF - 50 Gal) | Efficient | ROB and NEW
Technology Group Added | Added version for electric water heating per SWWH019 | Com | WaterHeat | Electric | FALSE | Com Faucet Aerators (Elec) | Normal Flow Faucet (Elec WH) | Average Existing and Code | RET Only
Technology Group Added | Added version for electric water heating per SWWH019 | Com | WaterHeat | Electric | FALSE | Com Faucet Aerators (Elec) | Faucet Aerators (Elec WH) | Efficient | RET Only
|  | Com | WaterHeat | Gas | FALSE | Com Faucet Aerators (Gas) | Normal Flow Faucet (Gas WH) | Average Existing and Code | RET Only
|  | Com | WaterHeat | Gas | FALSE | Com Faucet Aerators (Gas) | Faucet Aerators (Gas WH) | Efficient | RET Only
|  | Com | WaterHeat | Gas | FALSE | Com Gas Water Heating Boilers | Code Gas Water Heating Boiler (0.81 UEF) | Average Existing and Code | ROB and NEW
|  | Com | WaterHeat | Gas | FALSE | Com Gas Water Heating Boilers | Efficient Gas Water Heating Boiler (0.92 UEF) | Efficient | ROB and NEW
Technology Group Added | Based on SWWH018 | Com | WaterHeat | Gas | FALSE | Com Hot Water Tank Insulation | Com No Hot Water Tank Insulation | Average Existing | RET Only
Technology Group Added | Based on SWWH018 | Com | WaterHeat | Gas | FALSE | Com Hot Water Tank Insulation | Com Hot Water Tank Insulation | Efficient | RET Only
|  | Com | WaterHeat | Electric & Gas | TRUE | Com Large Gas Water Heaters | Com Code Large Gas Water Heater (100+ Gal, 200+ kBtuh - 0.80 Et) | Average Existing and Code | ROB and NEW
|  | Com | WaterHeat | Electric & Gas | TRUE | Com Large Gas Water Heaters | Com Heat Pump Water Heater (100+ Gal, 200+ kBtuh - 4.3 COP) - Fuel Sub | Efficient | ROB Only
|  | Com | WaterHeat | Gas | FALSE | Com Pipe Insulation | No Com Hot Water Pipe Insulation | Average Existing | RET Only
|  | Com | WaterHeat | Gas | FALSE | Com Pipe Insulation | Com Hot Water Pipe Insulation | Efficient | RET Only
|  | Com | WaterHeat | Gas | FALSE | Com Pre-Rinse Spray Valve | Standard Pre-Rinse Spray Valve | Code | ROB and NEW
|  | Com | WaterHeat | Gas | FALSE | Com Pre-Rinse Spray Valve | Low-flow Pre-Rinse Spray Valve | Efficient | ROB and NEW
Technology Group Added | Added version for electric water heating per SWWH020 | Com | WaterHeat | Electric | FALSE | Com Showerheads (Elec) | Normal Flow Showerheads (Elec WH) | Average Existing and Code | RET Only
Technology Group Added | Added version for electric water heating per SWWH020 | Com | WaterHeat | Electric | FALSE | Com Showerheads (Elec) | Low Flow Showerheads (Elec WH) | Efficient | RET Only
|  | Com | WaterHeat | Gas | FALSE | Com Showerheads (Gas) | Normal Flow Showerheads (Gas WH) | Average Existing and Code | RET Only
|  | Com | WaterHeat | Gas | FALSE | Com Showerheads (Gas) | Low Flow Showerheads (Gas WH) | Efficient | RET Only
|  | Com | WaterHeat | Electric & Gas | TRUE | Com Small Gas Water Heaters | Com Gas Storage Water Heater (0.63 UEF - 50 Gal) | Average Existing and Code | ROB and NEW
Technology Added | Additional efficiency level based on SWWH027 | Com | WaterHeat | Electric & Gas | TRUE | Com Small Gas Water Heaters | Com Heat Pump Water Heater (3.50 UEF - 50 Gal) - Fuel Sub | Efficient | ROB Only
Technology Added | Additional efficiency level based on SWWH027 | Com | WaterHeat | Electric & Gas | TRUE | Com Small Gas Water Heaters | Com Heat Pump Water Heater (3.75 UEF - 50 Gal) - Fuel Sub | Efficient | ROB Only
|  | Com | WaterHeat | Electric & Gas | TRUE | Com Small Gas Water Heaters | Com Efficient Gas Storage Water Heater (0.68 UEF - 50 Gal) | Efficient | ROB and NEW
|  | Com | WaterHeat | Electric & Gas | TRUE | Com Small Gas Water Heaters | Com Efficient Tankless Gas Water Heater (0.81 UEF - High Draw) | Efficient | ROB and NEW
|  | Com | WaterHeat | Electric & Gas | TRUE | Com Small Gas Water Heaters | Com Heat Pump Water Heater (3.30 UEF - 50 Gal) - Fuel Sub | Efficient | ROB Only
|  | Com | WaterHeat | Gas | FALSE | Com Water Heating Controls (Gas) | No Com Water Heating Controls (Gas WH) | Average Existing and Code | RET Only
|  | Com | WaterHeat | Gas | FALSE | Com Water Heating Controls (Gas) | Com Water Heating Controls (Gas WH) | Efficient | RET Only
Adjusted Definition | Updated code baseline to 2022 code cycle | Com | WholeBlg | Electric & Gas | FALSE | Com Building Standards | Com Title 24 2022 Code | Code | NEW Only
|  | Com | WholeBlg | Electric & Gas | FALSE | Com Building Standards | Com ZNE | Efficient | NEW Only
|  | Res | AppPlug | Electric | FALSE | Res Clothes Dryers (Elec) | Code Level Res Clothes Dryer (Electric) | Average Existing and Code | ROB and NEW
|  | Res | AppPlug | Electric | FALSE | Res Clothes Dryers (Elec) | Efficient Res Clothes Dryer (Electric) | Efficient | ROB and NEW
|  | Res | AppPlug | Electric | FALSE | Res Clothes Dryers (Elec) | Heat Pump Res Clothes Dryer | Efficient | ROB and NEW
|  | Res | AppPlug | Electric & Gas | TRUE | Res Clothes Dryers (Gas) | Code Level Res Clothes Dryer (Gas) | Average Existing and Code | ROB and NEW
|  | Res | AppPlug | Electric & Gas | TRUE | Res Clothes Dryers (Gas) | Efficient Res Clothes Dryer (Gas) | Efficient | ROB and NEW
|  | Res | AppPlug | Electric & Gas | TRUE | Res Clothes Dryers (Gas) | Heat Pump Res Clothes Dryer - Fuel Sub | Efficient | ROB and NEW
|  | Res | AppPlug | Electric | FALSE | Res Clothes Washers (Elec) | Code Level Res Clothes Washer (Electric) | Average Existing and Code | ROB and NEW
|  | Res | AppPlug | Electric | FALSE | Res Clothes Washers (Elec) | Efficient Res Clothes Washer (Electric) | Efficient | ROB and NEW
|  | Res | AppPlug | Gas | FALSE | Res Clothes Washers (Gas) | Code Level Res Clothes Washer (Gas) | Average Existing and Code | ROB and NEW
|  | Res | AppPlug | Gas | FALSE | Res Clothes Washers (Gas) | Efficient Res Clothes Washer (Gas) | Efficient | ROB and NEW
|  | Res | AppPlug | Electric & Gas | TRUE | Res Cooking Appliances | Res Gas Cooking Appliances | Average Existing and Code | ROB and NEW
|  | Res | AppPlug | Electric & Gas | TRUE | Res Cooking Appliances | Res Induction Cooking - Fuel Sub | Efficient | ROB and NEW
|  | Res | AppPlug | Gas | FALSE | Res Dishwashers | Standard Res Dishwasher | Average Existing and Code | ROB and NEW
|  | Res | AppPlug | Gas | FALSE | Res Dishwashers | Efficient Res Dishwasher | Efficient | ROB and NEW
|  | Res | AppPlug | Electric | FALSE | Res Electric Cooking | Standard Electric Stove | Average Existing and Code | ROB and NEW
|  | Res | AppPlug | Electric | FALSE | Res Electric Cooking | Induction Cooking Stove | Efficient | ROB and NEW
Technology Group Added | Based on SWAP012 | Res | AppPlug | Gas | FALSE | Res Gas Dryer Modulating Valve | Res Non-Modulating Dryer Valve | Average Existing | RET Only
Technology Group Added | Based on SWAP012 | Res | AppPlug | Gas | FALSE | Res Gas Dryer Modulating Valve | Res Modulating Dryer Valve | Efficient | RET Only
|  | Res | AppPlug | Electric & Gas | TRUE | Res Pool Heaters | Code Level Gas Pool Heater | Average Existing and Code | ROB and NEW
|  | Res | AppPlug | Electric & Gas | TRUE | Res Pool Heaters | Efficient Gas Pool Heater | Efficient | ROB and NEW
|  | Res | AppPlug | Electric & Gas | TRUE | Res Pool Heaters | Heat Pump Pool Heater - Fuel Sub | Efficient | ROB Only
|  | Res | AppPlug | Electric | FALSE | Res Power Strips | Standard Power Strip | Average Existing and Code | RET and NEW
|  | Res | AppPlug | Electric | FALSE | Res Power Strips | Smart Connected Power Strip | Efficient | RET and NEW
|  | Res | AppPlug | Electric | FALSE | Res Refrigerators | Code Level Refrigerator | Average Existing and Code | ROB and NEW
|  | Res | AppPlug | Electric | FALSE | Res Refrigerators | Efficient Refrigerator | Efficient | ROB and NEW
|  | Res | BldgEnv | Electric & Gas | FALSE | Res Attic/Ceiling Insulation - NEW | Attic/Ceiling Insulation NEW (Code) | Average Existing and Code | NEW Only
|  | Res | BldgEnv | Electric & Gas | FALSE | Res Attic/Ceiling Insulation - NEW | Attic/Ceiling Insulation NEW (Add R-11) | Efficient | NEW Only
|  | Res | BldgEnv | Electric & Gas | FALSE | Res Attic/Ceiling Insulation - RET | Attic/Ceiling Insulation RET (Average Existing) | Average Existing | RET Only
|  | Res | BldgEnv | Electric & Gas | FALSE | Res Attic/Ceiling Insulation - RET | Attic/Ceiling Insulation RET (Add R-30) | Efficient | RET Only
|  | Res | BldgEnv | Electric & Gas | FALSE | Res Wall Insulation | Wall Insulation (R0) | Average Existing | RET Only
|  | Res | BldgEnv | Electric & Gas | FALSE | Res Wall Insulation | Wall Insulation (R13) | Code | RET Only
|  | Res | BldgEnv | Electric & Gas | FALSE | Res Floor Insulation (Elec/Gas) | Floor Insulation (R0) | Average Existing | RET Only
|  | Res | BldgEnv | Electric & Gas | FALSE | Res Floor Insulation (Elec/Gas) | Floor Insulation (R19) | Code | RET Only
|  | Res | BldgEnv | Electric & Gas | FALSE | Res Floor Insulation (Elec/Gas) | Floor Insulation (R30) | Efficient | RET Only
Technology Group Added | Based on SWSV001, replacing previous Duct Insulation group | Res | BldgEnv | Electric & Gas | FALSE | Res Duct Sealing | Unsealed Ducts (High/Med Leakage) | Average Existing | RET Only
Technology Group Added | Based on SWSV001, replacing previous Duct Insulation group | Res | BldgEnv | Electric & Gas | FALSE | Res Duct Sealing | Sealed Ducts (Low Leakage) | Efficient | RET Only
|  | Res | HVAC | Gas | FALSE | Res Boilers | Standard Central Boiler | Average Existing and Code | ROB and NEW
|  | Res | HVAC | Gas | FALSE | Res Boilers | Efficient Central Boiler | Efficient | ROB and NEW
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC049 | Res | HVAC | Electric | FALSE | Res Central Air Conditioners | Packaged/Split System AC (SEER2 14.3) | Average Existing and Code | ROB and NEW
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC049 | Res | HVAC | Electric | FALSE | Res Central Air Conditioners | Packaged/Split System AC (SEER2 15.2) | Efficient | ROB and NEW
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC049 | Res | HVAC | Electric | FALSE | Res Central Air Conditioners | Packaged/Split System AC (SEER2 16.0) | Efficient | ROB and NEW
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC049 | Res | HVAC | Electric | FALSE | Res Central Air Conditioners | Packaged/Split System AC (SEER2 17.8) | Efficient | ROB and NEW
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC049 | Res | HVAC | Electric | FALSE | Res Central Air Conditioners | Packaged/Split System AC (SEER2 19.6) | Efficient | ROB and NEW
|  | Res | HVAC | Electric & Gas | TRUE | Res Central Furnace Only - Fuel Sub | Res Furnace FS (AFUE and HIR at Code Level) | Average Existing and Code | ROB and NEW
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC045 | Res | HVAC | Electric & Gas | TRUE | Res Central Furnace Only - Fuel Sub | Res Furnace Heat Pump Heating Only (SEER2 15.2) - Fuel Sub | Efficient | ROB Only
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC045 | Res | HVAC | Electric & Gas | TRUE | Res Central Furnace Only - Fuel Sub | Res Furnace Heat Pump Heating Only (SEER2 16.0) - Fuel Sub | Efficient | ROB Only
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC045 | Res | HVAC | Electric & Gas | TRUE | Res Central Furnace Only - Fuel Sub | Res Furnace Heat Pump Heating Only (SEER2 16.9) - Fuel Sub | Efficient | ROB Only
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC045 | Res | HVAC | Electric & Gas | TRUE | Res Central Furnace Only - Fuel Sub | Res Furnace Heat Pump Heating Only (SEER2 17.8) - Fuel Sub | Efficient | ROB Only
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC045 | Res | HVAC | Electric & Gas | TRUE | Res Central Furnace Only - Fuel Sub | Res Furnace Heat Pump Heating Only (SEER2 18.7) - Fuel Sub | Efficient | ROB Only
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC045 | Res | HVAC | Electric & Gas | TRUE | Res Central Furnace Only - Fuel Sub | Res Furnace Heat Pump Heating Only (SEER2 19.6) - Fuel Sub | Efficient | ROB Only
|  | Res | HVAC | Electric & Gas | TRUE | Res Central Furnace Only - Fuel Sub | Res Efficient Furnace FS (AFUE = 97) | Efficient | ROB and NEW
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC049 | Res | HVAC | Electric | FALSE | Res Central Heat Pumps | Packaged/Split Heat Pump (SEER2 14.3) | Average Existing and Code | ROB and NEW
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC049 | Res | HVAC | Electric | FALSE | Res Central Heat Pumps | Packaged/Split Heat Pump (SEER2 15.2) | Efficient | ROB and NEW
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC049 | Res | HVAC | Electric | FALSE | Res Central Heat Pumps | Packaged/Split Heat Pump (SEER2 16.0) | Efficient | ROB and NEW
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC049 | Res | HVAC | Electric | FALSE | Res Central Heat Pumps | Packaged/Split Heat Pump (SEER2 17.8) | Efficient | ROB and NEW
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC049 | Res | HVAC | Electric | FALSE | Res Central Heat Pumps | Packaged/Split Heat Pump (SEER2 19.6) | Efficient | ROB and NEW
|  | Res | HVAC | Electric & Gas | TRUE | Res Central HVAC System - Fuel Sub | Code HVAC System Furnace (TE 80%) and AC (SEER2 14.3) | Average Existing and Code | ROB and NEW
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC045 | Res | HVAC | Electric & Gas | TRUE | Res Central HVAC System - Fuel Sub | Packaged/Split Heat Pump (SEER2 15.2) - Fuel Sub | Efficient | ROB Only
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC045 | Res | HVAC | Electric & Gas | TRUE | Res Central HVAC System - Fuel Sub | Packaged/Split Heat Pump (SEER2 16.0) - Fuel Sub | Efficient | ROB Only
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC045 | Res | HVAC | Electric & Gas | TRUE | Res Central HVAC System - Fuel Sub | Packaged/Split Heat Pump (SEER2 16.9) - Fuel Sub | Efficient | ROB Only
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC045 | Res | HVAC | Electric & Gas | TRUE | Res Central HVAC System - Fuel Sub | Packaged/Split Heat Pump (SEER2 17.8) - Fuel Sub | Efficient | ROB Only
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC045 | Res | HVAC | Electric & Gas | TRUE | Res Central HVAC System - Fuel Sub | Packaged/Split Heat Pump (SEER2 18.7) - Fuel Sub | Efficient | ROB Only
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC045 | Res | HVAC | Electric & Gas | TRUE | Res Central HVAC System - Fuel Sub | Packaged/Split Heat Pump (SEER2 19.6) - Fuel Sub | Efficient | ROB Only
|  | Res | HVAC | Electric & Gas | TRUE | Res Central HVAC System - Fuel Sub | Efficient HVAC System Furnace (AFUE 97) and AC (SEER2 15.2) | Efficient | ROB and NEW
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC050 | Res | HVAC | Electric | FALSE | Res Ductless Heat Pumps | Ductless Mini Split Heat Pump (SEER2 14.3) | Average Existing and Code | ROB and NEW
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC050 | Res | HVAC | Electric | FALSE | Res Ductless Heat Pumps | Ductless Mini Split Heat Pump (SEER2 15.2) | Efficient | ROB and NEW
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC050 | Res | HVAC | Electric | FALSE | Res Ductless Heat Pumps | Ductless Mini Split Heat Pump (SEER2 16.0) | Efficient | ROB and NEW
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC050 | Res | HVAC | Electric | FALSE | Res Ductless Heat Pumps | Ductless Mini Split Heat Pump (SEER2 17.8) | Efficient | ROB and NEW
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC050 | Res | HVAC | Electric | FALSE | Res Ductless Heat Pumps | Ductless Mini Split Heat Pump (SEER2 19.6) | Efficient | ROB and NEW
|  | Res | HVAC | Electric & Gas | TRUE | Res Ductless HVAC System - Fuel Sub | Code HVAC Wall Furnace and Room AC | Average Existing and Code | ROB and NEW
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC044 | Res | HVAC | Electric & Gas | TRUE | Res Ductless HVAC System - Fuel Sub | Ductless Mini Split Heat Pump (SEER2 15.2) - Fuel Sub | Efficient | ROB Only
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC044 | Res | HVAC | Electric & Gas | TRUE | Res Ductless HVAC System - Fuel Sub | Ductless Mini Split Heat Pump (SEER2 16.0) - Fuel Sub | Efficient | ROB Only
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC044 | Res | HVAC | Electric & Gas | TRUE | Res Ductless HVAC System - Fuel Sub | Ductless Mini Split Heat Pump (SEER2 17.8) - Fuel Sub | Efficient | ROB Only
Adjusted Definition | Adjusted to SEER2 efficiency levels per SWHC044 | Res | HVAC | Electric & Gas | TRUE | Res Ductless HVAC System - Fuel Sub | Ductless Mini Split Heat Pump (SEER2 19.6) - Fuel Sub | Efficient | ROB Only
|  | Res | HVAC | Electric & Gas | TRUE | Res Ductless HVAC System - Fuel Sub | Efficient Wall Furnace and ENERGY STAR Room AC | Efficient | ROB and NEW
|  | Res | HVAC | Electric | FALSE | Res Ductless Room ACs | Code Level Room AC | Average Existing and Code | ROB and NEW
|  | Res | HVAC | Electric | FALSE | Res Ductless Room ACs | ENERGY STAR Room AC | Efficient | ROB and NEW
|  | Res | HVAC | Electric | FALSE | Res Ductless Room ACs | ENERGY STAR Advanced Room AC | Efficient | ROB and NEW
|  | Res | HVAC | Gas | FALSE | Res Furnaces | Res Code Furnace (AFUE 80, ECM) | Average Existing and Code | ROB and NEW
|  | Res | HVAC | Gas | FALSE | Res Furnaces | Res Efficient Furnace (AFUE 95, VSM) | Efficient | ROB and NEW
|  | Res | HVAC | Electric | FALSE | Res HVAC Controls Upgrade | Standard HVAC Controls | Average Existing and Code | RET Only
|  | Res | HVAC | Electric | FALSE | Res HVAC Controls Upgrade | HVAC Time Delay Relay | Efficient | RET Only
Adjusted Definition | Updated definition based per SWHC038 | Res | HVAC | Electric | FALSE | Res HVAC Motors | Res Standard PSC HVAC Motor | Average Existing and Code | RET Only
Adjusted Definition | Updated definition based per SWHC038 | Res | HVAC | Electric | FALSE | Res HVAC Motors | Res Brushless HVAC Motor | Efficient | RET Only
|  | Res | HVAC | Electric | FALSE | Res HVAC Quality Maintenance (Elec/Elec) | Existing HVAC System (Elec SC and Elec SH) | Average Existing and Code | RET Only
|  | Res | HVAC | Electric | FALSE | Res HVAC Quality Maintenance (Elec/Elec) | HVAC System Maintenance - Ref. Charge, Duct Seal, Coil Clean (Elec SC and Elec SH) | Efficient | RET Only
|  | Res | HVAC | Electric & Gas | FALSE | Res HVAC Quality Maintenance (Elec/Gas) | Existing HVAC System (Elec SC and Gas SH) | Average Existing and Code | RET Only
|  | Res | HVAC | Electric & Gas | FALSE | Res HVAC Quality Maintenance (Elec/Gas) | HVAC System Maintenance - Ref. Charge, Duct Seal, Coil Clean (Elec SC and Gas SH) | Efficient | RET Only
|  | Res | HVAC | Electric | FALSE | Res Thermostats (Elec/Elec) | Res Programmable Thermostat (Elec SC and Elec SH) | Average Existing and Code | RET and NEW
|  | Res | HVAC | Electric | FALSE | Res Thermostats (Elec/Elec) | Res Smart Thermostat (Elec SC and Elec SH) | Efficient | RET and NEW
|  | Res | HVAC | Electric & Gas | FALSE | Res Thermostats (Elec/Gas) | Res Programmable Thermostat (Elec SC and Gas SH) | Average Existing and Code | RET and NEW
|  | Res | HVAC | Electric & Gas | FALSE | Res Thermostats (Elec/Gas) | Res Smart Thermostat (Elec SC and Gas SH) | Efficient | RET and NEW
|  | Res | HVAC | Electric | FALSE | Res Whole House Fan | No Whole House Fan | Average Existing and Code | RET Only
|  | Res | HVAC | Electric | FALSE | Res Whole House Fan | Whole House Fan | Efficient | RET Only
|  | Res | WaterHeat | Electric | FALSE | Res Elec Water Heaters | Res Small Electric Storage Water Heater (0.92 UEF - 50 Gal) | Average Existing and Code | ROB and NEW
|  | Res | WaterHeat | Electric | FALSE | Res Elec Water Heaters | Res Heat Pump Water Heater (3.50 UEF - 50 Gal) | Efficient | ROB and NEW
|  | Res | WaterHeat | Electric | FALSE | Res Faucet Aerators (Elec) | Normal Flow Faucet (Elec WH) | Average Existing and Code | RET and NEW
|  | Res | WaterHeat | Electric | FALSE | Res Faucet Aerators (Elec) | Faucet Aerators (Elec WH) | Efficient | RET and NEW
|  | Res | WaterHeat | Gas | FALSE | Res Faucet Aerators (Gas) | Normal Flow Faucet (Gas WH) | Average Existing and Code | RET and NEW
|  | Res | WaterHeat | Gas | FALSE | Res Faucet Aerators (Gas) | Faucet Aerators (Gas WH) | Efficient | RET and NEW
|  | Res | WaterHeat | Electric & Gas | TRUE | Res Gas Water Heaters | Res Small Gas Storage Water Heater (0.63 UEF - 50 Gal) | Average Existing and Code | ROB and NEW
Technology Added | Additional efficiency level based on SWWH025 | Res | WaterHeat | Electric & Gas | TRUE | Res Gas Water Heaters | Res Heat Pump Water Heater (3.50 UEF - 50 Gal) - Fuel Sub | Efficient | ROB Only
Technology Added | Additional efficiency level based on SWWH025 | Res | WaterHeat | Electric & Gas | TRUE | Res Gas Water Heaters | Res Heat Pump Water Heater (3.70 UEF - 50 Gal) - Fuel Sub | Efficient | ROB Only
|  | Res | WaterHeat | Electric & Gas | TRUE | Res Gas Water Heaters | Res Condensing Eff. Small Gas Storage Water Heater (0.78 UEF - 50 Gal) | Efficient | ROB and NEW
|  | Res | WaterHeat | Electric & Gas | TRUE | Res Gas Water Heaters | Res Tankless Gas Water Heater (0.81 UEF - High Draw) | Efficient | ROB and NEW
|  | Res | WaterHeat | Electric & Gas | TRUE | Res Gas Water Heaters | Res Heat Pump Water Heater (3.30 UEF - 50 Gal) - Fuel Sub | Efficient | ROB Only
Technology Group Added | Based on SWWH018 | Res | WaterHeat | Gas | FALSE | Res Hot Water Tank Insulation | Res No Hot Water Tank Insulation | Average Existing | RET Only
Technology Group Added | Based on SWWH018 | Res | WaterHeat | Gas | FALSE | Res Hot Water Tank Insulation | Res Hot Water Tank Insulation | Efficient | RET Only
|  | Res | WaterHeat | Electric & Gas | TRUE | Res Multifamily Central Gas Water Heaters | Res Code Central Gas Water Heater (150+ kBtuh, 0.84 Et) | Average Existing and Code | ROB and NEW
|  | Res | WaterHeat | Electric & Gas | TRUE | Res Multifamily Central Gas Water Heaters | Res Central Heat Pump Water Heater (150+ kBtuh, 3.0 COP) - Fuel Sub | Efficient | ROB Only
|  | Res | WaterHeat | Electric | FALSE | Res Showerheads (Elec) | Normal Flow Showerheads (Elec WH) | Average Existing and Code | RET and NEW
|  | Res | WaterHeat | Electric | FALSE | Res Showerheads (Elec) | Low Flow Showerheads (Elec WH) | Efficient | RET and NEW
|  | Res | WaterHeat | Gas | FALSE | Res Showerheads (Gas) | Normal Flow Showerheads (Gas WH) | Average Existing and Code | RET and NEW
|  | Res | WaterHeat | Gas | FALSE | Res Showerheads (Gas) | Low Flow Showerheads (Gas WH) | Efficient | RET and NEW
|  | Res | WaterHeat | Gas | FALSE | Res Water Heating Controls (Gas) | No Water Heating Controls (Gas WH) | Average Existing and Code | RET Only
|  | Res | WaterHeat | Gas | FALSE | Res Water Heating Controls (Gas) | Water Heating Controls (Gas WH) | Efficient | RET Only
Adjusted Definition | Updated code baseline to 2022 code cycle | Res | WholeBlg | Electric & Gas | FALSE | Res Building Standards | Res Title 24 2022 Code | Code | NEW Only
Adjusted Definition | Updated definition based per SWWH008 | Res | WholeBlg | Electric & Gas | FALSE | Res Building Standards | Res All-Electric Homes | Efficient | NEW Only

## Measures Removed
Sector | End Use | Savings (Fuel Type) | Technology | Base Year Efficiency Level | Technology Group | Reason for Removal | Stakeholder Comments
Com | AppPlug | Electric | No PC Power Management | Average Existing and Code | Com PC Power Management | Removal per criteria in README; consider in Com Custom analysis
Com | AppPlug | Electric | PC Power Management | Efficient | Com PC Power Management | Removal per criteria in README; consider in Com Custom analysis
Com | AppPlug | Electric | Com Standard Power Strip | Average Existing and Code | Com Power Strips | Removal per criteria in README; consider in Com Custom analysis
Com | AppPlug | Electric | Com Smart Connected Power Strip | Efficient | Com Power Strips | Removal per criteria in README; consider in Com Custom analysis
Com | AppPlug | Electric | Standard Eff Servers | Average Existing and Code | Com Servers | Removal per criteria in README; consider in Com Custom analysis
Com | AppPlug | Electric | Server Virtualization | Efficient | Com Servers | Removal per criteria in README; consider in Com Custom analysis
Com | AppPlug | Electric | High Efficiency Servers | Efficient | Com Servers | Removal per criteria in README; consider in Com Custom analysis
Com | Data Center | Electric | No Air Flow Management | Average Existing and Code | Com Data Center Air Flow Management | Removal per criteria in README; consider in Com Custom analysis
Com | Data Center | Electric | Air Flow Management | Efficient | Com Data Center Air Flow Management | Removal per criteria in README; consider in Com Custom analysis
Com | Data Center | Electric | Standard CRAC | Average Existing and Code | Com Data Center CRAC upgrades | Removal per criteria in README; consider in Com Custom analysis
Com | Data Center | Electric | Efficient CRAC | Efficient | Com Data Center CRAC upgrades | Removal per criteria in README; consider in Com Custom analysis
Com | Data Center | Electric | Standard UPS | Average Existing and Code | Com Data Center High Eff UPS | Removal per criteria in README; consider in Com Custom analysis
Com | Data Center | Electric | Efficient UPS | Efficient | Com Data Center High Eff UPS | Removal per criteria in README; consider in Com Custom analysis
Com | Data Center | Electric | No Server Virtualization | Average Existing and Code | Com Data Center Server Virtualization | Removal per criteria in README; consider in Com Custom analysis
Com | Data Center | Electric | Data Center Server Virtualization | Efficient | Com Data Center Server Virtualization | Removal per criteria in README; consider in Com Custom analysis
Com | HVAC | Electric | No DOAS System | Average Existing and Code | Com DOAS | Removal per criteria in README; consider in Com Custom analysis
Com | HVAC | Electric | Dedicated Outdoor Air System (DOAS) | Efficient | Com DOAS | Removal per criteria in README; consider in Com Custom analysis
Com | HVAC | Electric | No HVAC EMS (Elec SC and Elec SH) | Average Existing and Code | Com EMS (Elec/Elec) | Removal per criteria in README; consider in Com Custom analysis
Com | HVAC | Electric | HVAC Energy Management System (Elec SC and Elec SH) | Efficient | Com EMS (Elec/Elec) | Removal per criteria in README; consider in Com Custom analysis
Com | HVAC | Electric | Com HVAC Motor - Shaded Pole | Average Existing | Com HVAC Motors | Removal per criteria in README; consider in Com Custom analysis
Com | HVAC | Electric | Com HVAC Motor - PSC | Code | Com HVAC Motors | Removal per criteria in README; consider in Com Custom analysis
Com | HVAC | Electric | Com HVAC Motor - ECM | Efficient | Com HVAC Motors | Removal per criteria in README; consider in Com Custom analysis
Com | HVAC | Electric | Standard PTAC Controls | Average Existing and Code | Com PTAC Controls | Removal per criteria in README; consider in Com Custom analysis
Com | HVAC | Electric | PTAC Controls Upgrade | Efficient | Com PTAC Controls | Removal per criteria in README; consider in Com Custom analysis
Com | HVAC | Electric | Com Manual Thermostat (Elec SC and Elec SH) | Average Existing | Com Thermostats (Elec/Elec) | Removal per criteria in README; consider in Com Custom analysis
Com | HVAC | Electric | Com Programmable Thermostat (Elec SC and Elec SH) | Code | Com Thermostats (Elec/Elec) | Removal per criteria in README; consider in Com Custom analysis
Com | HVAC | Electric | Com Smart Thermostat (Elec SC and Elec SH) | Efficient | Com Thermostats (Elec/Elec) | Removal per criteria in README; consider in Com Custom analysis
Com | HVAC | Electric & Gas | Com Manual Thermostat (Elec SC and Gas SH) | Average Existing | Com Thermostats (Elec/Gas) | Removal per criteria in README; consider in Com Custom analysis
Com | HVAC | Electric & Gas | Com Programmable Thermostat (Elec SC and Gas SH) | Code | Com Thermostats (Elec/Gas) | Removal per criteria in README; consider in Com Custom analysis
Com | HVAC | Electric & Gas | Com Smart Thermostat (Elec SC and Gas SH) | Efficient | Com Thermostats (Elec/Gas) | Removal per criteria in README; consider in Com Custom analysis
Com | Lighting | Electric | Manual Commercial Lighting Controls | Average Existing | Com Indoor Lighting Controls | Removal per criteria in README; consider in Com Custom analysis
Com | Lighting | Electric | Occupancy Sensor | Code | Com Indoor Lighting Controls | Removal per criteria in README; consider in Com Custom analysis
Com | Lighting | Electric | Advanced Commercial Lighting Controls | Efficient | Com Indoor Lighting Controls | Removal per criteria in README; consider in Com Custom analysis
Com | Lighting | Electric | Com LED Reflector Lamp Indoor - 80 lpw | Average Existing and Code | Com LED Reflector Lamps - Indoor | Removal per criteria in README; consider in Com Custom analysis
Com | Lighting | Electric | Com LED Reflector Lamp Indoor - 90 lpw | Efficient | Com LED Reflector Lamps - Indoor | Removal per criteria in README; consider in Com Custom analysis
Com | Lighting | Electric | Com LED Reflector Lamp Indoor - 100 lpw | Efficient | Com LED Reflector Lamps - Indoor | Removal per criteria in README; consider in Com Custom analysis
Com | Lighting | Electric | Com LED Screw In Lamp Indoor - 80 lpw | Average Existing and Code | Com LED Screw In Lamps - Indoor | Removal per criteria in README; consider in Com Custom analysis
Com | Lighting | Electric | Com LED Screw In Lamp Indoor - 95 lpw | Efficient | Com LED Screw In Lamps - Indoor | Removal per criteria in README; consider in Com Custom analysis
Com | Lighting | Electric | Com LED Screw In Lamp Indoor - 110 lpw | Efficient | Com LED Screw In Lamps - Indoor | Removal per criteria in README; consider in Com Custom analysis
Com | Lighting | Electric | Com LED Specialty Lamp Indoor - 65 lpw | Average Existing and Code | Com LED Specialty Lamps - Indoor | Removal per criteria in README; consider in Com Custom analysis
Com | Lighting | Electric | Com LED Specialty Lamp Indoor - 85 lpw | Efficient | Com LED Specialty Lamps - Indoor | Removal per criteria in README; consider in Com Custom analysis
Com | Lighting | Electric | Com LED Specialty Lamp Indoor - 100 lpw | Efficient | Com LED Specialty Lamps - Indoor | Removal per criteria in README; consider in Com Custom analysis
Com | WaterHeat | Electric | No Com Water Heating Controls (Elec WH) | Average Existing and Code | Com Water Heating Controls (Elec) | Measure only applicable for gas in SWWH016
Com | WaterHeat | Electric | Com Water Heating Controls (Elec WH) | Efficient | Com Water Heating Controls (Elec) | Measure only applicable for gas in SWWH016
Com | WholeBlg | Electric & Gas | Com Title 24 2019 Code | Efficient | Com Building Standards | Measure obsolete (baseline updated to 2022 code cycle)
Res | BldgEnv | Electric & Gas | Attic/Crawlspace Duct Insulation (R4) | Average Existing | Res Duct Insulation | Replaced with Res Duct Sealing per SWSV001
Res | BldgEnv | Electric & Gas | Attic/Crawlspace Duct Insulation (R6) | Code | Res Duct Insulation | Replaced with Res Duct Sealing per SWSV001
Res | BldgEnv | Electric & Gas | Attic/Crawlspace Duct Insulation (R8) | Efficient | Res Duct Insulation | Replaced with Res Duct Sealing per SWSV001
Res | HVAC | Electric | Standard Ceiling Fan | Average Existing and Code | Res Ceiling Fans | Removal per criteria described in README
Res | HVAC | Electric | ENERGY STAR Ceiling Fan | Efficient | Res Ceiling Fans | Removal per criteria described in README
Res | HVAC | Electric | Standard HVAC Installation (Elec SC and Elec SH) | Average Existing and Code | Res Quality HVAC Installation (Elec/Elec) | Removal per criteria described in README
Res | HVAC | Electric | Quality HVAC Installation (Elec SC and Elec SH) | Efficient | Res Quality HVAC Installation (Elec/Elec) | Removal per criteria described in README
Res | HVAC | Electric & Gas | Standard HVAC Installation (Elec SC and Gas SH) | Average Existing and Code | Res Quality HVAC Installation (Elec/Gas) | Removal per criteria described in README
Res | HVAC | Electric & Gas | Quality HVAC Installation (Elec SC and Gas SH) | Efficient | Res Quality HVAC Installation (Elec/Gas) | Removal per criteria described in README
Res | Lighting | Electric | Manual Residential Lighting Controls | Average Existing | Res Indoor Lighting Controls | Removal per criteria described in README
Res | Lighting | Electric | Advanced Residential Lighting Controls | Efficient | Res Indoor Lighting Controls | Removal per criteria described in README
Res | Lighting | Electric | LED General Service Lamp Indoor - 80 lpw | Average Existing and Code | Res LED General Service Lamps - Indoor | Removal per criteria described in README
Res | Lighting | Electric | LED General Service Lamp Indoor - 95 lpw | Efficient | Res LED General Service Lamps - Indoor | Removal per criteria described in README
Res | Lighting | Electric | LED General Service Lamp Indoor - 110 lpw | Efficient | Res LED General Service Lamps - Indoor | Removal per criteria described in README
Res | Lighting | Electric | LED General Service Lamp Outdoor - 80 lpw | Average Existing and Code | Res LED General Service Lamps - Outdoor | Removal per criteria described in README
Res | Lighting | Electric | LED General Service Lamp Outdoor - 95 lpw | Efficient | Res LED General Service Lamps - Outdoor | Removal per criteria described in README
Res | Lighting | Electric | LED General Service Lamp Outdoor - 110 lpw | Efficient | Res LED General Service Lamps - Outdoor | Removal per criteria described in README
Res | Lighting | Electric | LED Reflector Lamp Indoor - 80 lpw | Average Existing and Code | Res LED Reflector Lamps - Indoor | Removal per criteria described in README
Res | Lighting | Electric | LED Reflector Lamp Indoor - 90 lpw | Efficient | Res LED Reflector Lamps - Indoor | Removal per criteria described in README
Res | Lighting | Electric | LED Reflector Lamp Indoor - 100 lpw | Efficient | Res LED Reflector Lamps - Indoor | Removal per criteria described in README
Res | Lighting | Electric | LED Reflector Lamp Outdoor - 80 lpw | Average Existing and Code | Res LED Reflector Lamps - Outdoor | Removal per criteria described in README
Res | Lighting | Electric | LED Reflector Lamp Outdoor - 90 lpw | Efficient | Res LED Reflector Lamps - Outdoor | Removal per criteria described in README
Res | Lighting | Electric | LED Reflector Lamp Outdoor - 100 lpw | Efficient | Res LED Reflector Lamps - Outdoor | Removal per criteria described in README
Res | Lighting | Electric | LED Specialty Lamp Indoor - 65 lpw | Average Existing and Code | Res LED Specialty Lamps - Indoor | Removal per criteria described in README
Res | Lighting | Electric | LED Specialty Lamp Indoor - 85 lpw | Efficient | Res LED Specialty Lamps - Indoor | Removal per criteria described in README
Res | Lighting | Electric | LED Specialty Lamp Indoor - 100 lpw | Efficient | Res LED Specialty Lamps - Indoor | Removal per criteria described in README
Res | Lighting | Electric | LED Specialty Lamp Outdoor - 65 lpw | Average Existing and Code | Res LED Specialty Lamps - Outdoor | Removal per criteria described in README
Res | Lighting | Electric | LED Specialty Lamp Outdoor - 85 lpw | Efficient | Res LED Specialty Lamps - Outdoor | Removal per criteria described in README
Res | Lighting | Electric | LED Specialty Lamp Outdoor - 100 lpw | Efficient | Res LED Specialty Lamps - Outdoor | Removal per criteria described in README
Res | WaterHeat | Electric | No Drain Water Heat Recovery (Elec WH) - NEW | Average Existing and Code | Res Drain Water Heat Recovery (Elec) - NEW | Removal per criteria described in README
Res | WaterHeat | Electric | Drain Water Heat Recovery (Elec WH) - NEW | Efficient | Res Drain Water Heat Recovery (Elec) - NEW | Removal per criteria described in README
Res | WaterHeat | Electric | No Drain Water Heat Recovery (Elec WH) - RET | Average Existing and Code | Res Drain Water Heat Recovery (Elec) - RET | Removal per criteria described in README
Res | WaterHeat | Gas | No Drain Water Heat Recovery (Gas WH) - RET | Average Existing and Code | Res Drain Water Heat Recovery (Elec) - RET | Removal per criteria described in README
Res | WaterHeat | Electric | Drain Water Heat Recovery (Elec WH) - RET | Efficient | Res Drain Water Heat Recovery (Elec) - RET | Removal per criteria described in README
Res | WaterHeat | Gas | Drain Water Heat Recovery (Gas WH) - RET | Efficient | Res Drain Water Heat Recovery (Elec) - RET | Removal per criteria described in README
Res | WaterHeat | Gas | No Drain Water Heat Recovery (Gas WH) - NEW | Average Existing and Code | Res Drain Water Heat Recovery (Gas) NEW | Removal per criteria described in README
Res | WaterHeat | Gas | Drain Water Heat Recovery (Gas WH) - NEW | Efficient | Res Drain Water Heat Recovery (Gas) NEW | Removal per criteria described in README
Res | WaterHeat | Electric | No Water Heating Controls (Elec WH) | Average Existing and Code | Res Water Heating Controls (Elec) | Measure only applicable for gas in SWWH016
Res | WaterHeat | Electric | Water Heating Controls (Elec WH) | Efficient | Res Water Heating Controls (Elec) | Measure only applicable for gas in SWWH016
Res | WholeBlg | Electric & Gas | Res Title 24 2019 Code | Efficient | Res Building Standards | Measure obsolete (baseline updated to 2022 code cycle)
Res | WholeBlg | Electric & Gas | Res Existing Building - No Retrofit | Average Existing | Res Whole Building Retrofit | Removal per criteria described in README
Res | WholeBlg | Electric & Gas | Energy Upgrade CA Basic | Efficient | Res Whole Building Retrofit | Removal per criteria described in README
Res | WholeBlg | Electric & Gas | Energy Upgrade CA Advanced | Efficient | Res Whole Building Retrofit | Removal per criteria described in README