Resource Data Template Version 3:

User Guide

Updated: November13, 2024

Integrated Resource Planning and Energy Resource Modeling Sections,

Energy Division, California Public Utilities Commission

# Introduction

This document is a user guide to the Resource Data Template (RDT) version 3 (RDTv3). This user guide is intended to be the primary document instructing the user on the proper use of RDTv3. This user guide does not contain the actual dates for any compliance obligations, for example, the contract cutoff date corresponding to finalization of the resource table, or any other compliance obligation due dates. Those dates and any other significant compliance obligation details including the reporting period over which the LSEs are required to submit data are contained in a separate document: [June 3, 2024 IRP Filing Requirement Overview](https://www.cpuc.ca.gov/-/media/cpuc-website/divisions/energy-division/documents/integrated-resource-plan-and-long-term-procurement-plan-irp-ltpp/june-2024-irp-fr-overview.pdf).

# Differences from Previous Version

RDTv3 attempts to be as consistent with previous versions as possible, with the following exceptions:

* Error Checking Macro: Staff updated the error checking macro and LSEs are strongly encouraged to run the macro resulting in an error-free "ReportSheet" before their final submission. Please see section 11 for instructions.
* Addition of the “*mtr\_nqc\_validation\_tool*” and “*mtr\_nqc\_summary”* tabs: Staff added new functionality to the RDTv3 to allowing LSEs to describe how contracts will be used the respective mid-term reliability obligations. Please see section 12 for instructions. This tool now additionally allows LSEs to enter contracts pursuant to the “Zero-emissions generation, generation paired with storage, or demand response resources”, also known as “Diablo Canyon Replacement” requirement.

# Instructions for the fields in the template

The "unique\_contracts" tab is the only table in RDTv3 for reporting the LSE’s existing and planned energy and capacity contracts. A few general notes/instructions:

* As the name of this tab implies, each row entered into "unique\_contracts" tab should describe **one and only one contract.** When something fundamental about the contract changes (e.g., the resource’s nameplate is expanded), please enter them as separate contracts (in separate lines). For more details, please read section 8.
* Please note that all the values should be entered as positive numbers (even when the contract is a sale).

The following table provides detailed instructions for all the fields in the "unique\_contracts" tab.

|  |  |  |
| --- | --- | --- |
| **Field Name** | **Instructions** | **Required data type** |
| lse\_unique\_contract\_id | An identifier provided by the LSE to distinguish unique contracts with a given resource. ,The LSE unique contract name should be held consistent to what was submitted in prior RDT submissions. If the LSE\_unique contract ID is changed for any reason please indicate in the “notes” column what the previously filed LSE unique contract ID was and the reason for the change | string |
| Resource | The CAISO resource ID name, which must come from the resource list RDTv3.resources.resource.  If you do not know a resource ID, Search on the “resources” tab for the project name to find the resource ID.  The drop down is pre-populated with the CAISO master generating capability list and resources that are actively in the CAISO new resource implementation (NRI) list.  This field should never be empty. If the resource is not yet “Active” in the New Resource Implementation process, pick a generic name. Please see “4. Resources” for more information. | string |
| alternative\_resource\_name | Please select the name this project has or had. If the name is not among options in the dropdown list, provide the name and click “Yes” on the popup. If more than one, please separate them with a comma.  If there are not any alternative names, leave this column blank. | string |
| contract\_status | Status showing maturity of development process for this resource: online, development, review, plannedexisting or plannednew, as defined in section 5.  Common Correction Requested: Please ensure column c “contract\_status” is updated to “online” for all projects with commercial online dates (CODs) that occurred in the past. The contract status should be marked online as soon as the claimed resource has achieved COD even in advance of the contract commencing. | string |
| project\_interconnection\_position | Select the CAISO Queue Position or Wholesale Distribution Access Tariff (WDAT)/Wholesale Distribution Tariff (WDT) identifier for each resource that has one. Enter new contract rows for each distinct queue/WDAT/WDT position. If the position is not shown in the dropdown, then it can be updated from the CAISO public queue by preforming an Excel Refresh All, or by running the error checking macro. Note that the numbers without any letters refer to CAISO queue numbers and the numbers with WD- or ###-WDAT are WDAT positions.  For the rare instance that resources that do not yet have a known CAISO Queue Positions or WDT/WDAT identifiers, LSEs should use a standardized title with the below formats.   * + **CAISO resources format:**     - *resourcetype\_caiso\_planned* or *resourcetype\_wdat\_planned*   + **Non-CAISO resource format:**     - *resourcetype\_import\_planned* or *resourcetype\_import\_existing*   ***NOTE:*** *for these entries, an Excel pop-up window will appear stating that the entered value doesn’t match the data validation restrictions defined for the cell. Please select “Yes” to continue.*  Common Correction Requested: Please validate your contracted projects correct project name and Queue number and/or Resource ID (this is available as soon as the project enters the “Active” phase of new resource implementation).  There are two reports on the CAISO interconnection website ([California ISO - Generator interconnection (caiso.com)](https://www.caiso.com/planning/Pages/GeneratorInterconnection/Default.aspx) to help LSEs correctly identify their resource: (1) the CAISO interconnection queue, and (2) Generator Interconnection Resource ID Report that provides the CAISO resource ID for each resource that is entering the active phase of resource implementation. to help LSEs correctly identify their resource: (1) the CAISO interconnection queue, and (2) Generator Interconnection Resource ID Report that provides the CAISO resource ID for each resource that is entering the active phase of resource implementation.  Additionally, the following lists are available by TAC:  -[PG&E](https://www.pge.com/en/about/doing-business-with-pge/interconnections/wholesale-generation.html): Available under the “Public Queue Information Updates” dropdown “PG&E Wholesale Distribution Queue”  [SDG&E](https://www.sdge.com/more-information/customer-generation/wdat-generation-interconnection-queue):  [SCE's WDAT queue](https://www.sce.com/regulatory/open-access-information) : (Search for "Interconnection Queue" link)  Note that each CAISO queue position may correspond to multiple resource IDs. Likewise, LSEs may hold a single contract that encompasses on or more CAISO queue numbers, and so a single contract may need to be reported as multiple rows to capture each of the resource IDs associated with the contract | string |
| interconnection\_substation | If CAISO Queue Position or WDAT/WDT identifier is not known or is outside of the state, then please provide interconnection substation of the resource or planned CAISO scheduling point if an out-of-state resource. Otherwise, enter “NA”. | string |
| marginal\_addition | If the contracted resource includes a marginal addition to an existing resource, report NQC value attributable to the marginal addition in September for the first year of contract delivery using the Resource Adequacy (RA) program credit. If the marginal addition comes online after the last program credit year, use the values from the last program credit year.  If the project is not a marginal addition to an existing resource, enter “NA”. | string |
| marginal\_addition\_to | If the contracted resource includes one or more marginal additions to an existing resource from list RDTv3.resources.resource, report the existing resource name here. The resource name must come from the list RDTv3.resources.resource. Otherwise, leave this column blank.  For more instruction regarding marginal additions please see section 8. | string |
| total\_nameplate\_capacity | Please provide the total nameplate capacity of the whole project (maximum MW it can deliver) if the RDTv3 does not have specific MAXGEN for this resource (when the RDTv3.resources.MAXGEN is blank). This means for resources with supertype = existinggeneric, newresolve, newgeneric, newloadmod, supplierschoice, unspecifiedimport, unspecifiednonimport, unbundledrec.  *Note 1: This field is for the whole project and not the LSE’s contracted portion of the project (LSE’s contract).*  *Note 2: For hybrid/paired projects, this is the maximum rate* (interconnection capacity) resource that can send energy to the grid. In most cases this will be less than the generator portion of the hybrid, plus the storage portion of the hybrid/paired.  *Note 3: If LSE report this field for the resources that have MAXGEN values in the* RDTv3.resources.MAXGEN, RECART will overwrite the LSE’s reported value with the one in the RDTv3.resources.MAXGEN in the aggregation process. | numeric |
| contracted\_nameplate\_capacity | Please provide LSE’s contracted nameplate capacity of the project.  *Note 1: This field is for LSE’s contracted amount and not the whole project (resource).*  *Note 2:* If this is a hybrid/paired project, report the maximum rate (interconnection capacity) that the LSE can receive from this resource. In most cases this will be less than the LSE’s generator portion of the hybrid, plus the LSE’s storage portion of the hybrid/paired.  *Note 3: The contracted nameplate capacity of the project may differ from the contracted Net Qualifying Capacity, which is reported separately in the RDT.* | numeric |
| sep\_contracted\_mw\_nqc | Please enter the contracted September Net Qualifying Capacity (NQC) value that counts for Resource Adequacy (RA) program credit for the project's first year online.    If the contract either does not exist yet, or does not have a known NQC value, please estimate this value using the current methodologies in use by the CPUC’s Resource Adequacy Program.    If the contract is energy only, enter 0 here. Do not leave this blank.  *Note 1: The contracted NQC of the project may differ from the contracted nameplate capacity, which is reported separately in the RDT.* | numeric |
| contract\_gwh\_annual | Enter the annual amount of energy contracted for, in GWh. If this is an RA only contract, enter zero here. Do not leave this blank.  If the amount changes over the course of contract, please provide the average annual amount. | numeric |
| is\_hybrid\_paired | Dropdown list; “null” and possible hybrid and paired technology combinations.   1. null 2. NotHybrid 3. ExistingBiomassExistingStorage 4. ExistingBiomassNewStorage 5. ExistingGeothermalExistingStorage 6. ExistingGeothermalNewStorage 7. ExistingSolarExistingStorage 8. ExistingSolarNewStorage 9. ExistingThermalExistingStorage 10. ExistingThermalNewStorage 11. ExistingWindExistingStorage 12. ExistingWindNewStorage 13. NewBiomassExistingStorage 14. NewBiomassNewStorage 15. NewGeothermalExistingStorage 16. NewGeothermalNewStorage 17. NewSolarExistingStorage 18. NewSolarNewStorage 19. NewThermalExistingStorage 20. NewThermalNewStorage 21. NewWindExistingStorage 22. NewWindNewStorage   *Note: For the purpose of IRP, “Paired” refers to generation and storage resources that share the same grid interconnection and “Hybrid” resources as paired resources with constraints that require storage charging to occur using the paired generation resource rather than the grid.* | string |
| can\_charge\_from\_grid | Dropdown list: yes, no.  Use “Yes” when storage can charge from grid. Use “No” when storage can ONLY charge from the associated generator.  For non-hybrid/paired contracts, leave this column blank.  *Note: For the purpose of IRP, “Paired” refers to generation and storage resources that share the same grid interconnection and “Hybrid” resources as paired resources with constraints that require storage charging to occur using the paired generation resource rather than the grid. Selecting “No” in this column means the project is hybrid.* | string |
| total\_generator\_mw | A hybrid/paired resource consists of a generator and storage. This is the nameplate of the generator portion of the resource, in MW (the whole project). Only report this for hybrid or paired projects.  For non-hybrid/paired contract, leave this column blank.  *Note 1: This field is for the whole generator capacity and not the LSE’s portion of that.*  *Note 2: Section 8 provides more details regarding how to report hybrid/paired projects.* | numeric |
| contracted\_generator\_mw | A hybrid/paired resource consists of a generator and storage. Please provide LSE’s contracted nameplate of the generator portion of the project, in MW. Only report this for hybrid or paired projects.  For non-hybrid/paired contract, leave this column blank.  *Note 1: This field is for the LSE’s contracted amount from the generator and not the whole generator capacity.*  *Note 2: Section 8 provides more details regarding how to report hybrid projects.* | numeric |
| total\_storage\_mw | A hybrid/paired resource consists of a generator and storage. This is the nameplate of the storage portion of the project, in MW (the whole project). Only report this for hybrid or paired projects.  For non-hybrid/paired contract, leave this column blank.  *Note 1: This field is for the whole storage capacity and not the LSE’s portion of that.*  *Note 2: Section 8 provides more details regarding how to report hybrid projects.* | numeric |
| contracted\_storage\_mw | A hybrid/paired resource consists of a generator and storage. Please provide LSE’s contracted nameplate of the storage portion of the project, in MW. Only report this for hybrid or paired projects.  For non-hybrid/paired contract, leave this column blank.  *Note 1: This field is for the LSE’s contracted amount from the storage and not the whole storage capacity.*  *Note 2: Section 8 provides more details regarding how to report hybrid projects.* | numeric |
| solar\_technology\_sub\_type | If the resource is a standalone solar, or a hybrid/paired with solar as the generator, report the technology type. Dropdown list: Fixed, SolarThermal, 2Axis, 1Axis. Otherwise, leave this column blank. | string |
| storage\_technology\_sub\_type | If the resource is a standalone storage, or a hybrid/paired with storage, report the technology sub type. Dropdown list: Li, Flow, PSH, Other. Otherwise, leave this column blank. | string |
| total\_storage\_depth\_mwh | If the resource is a standalone storage or a hybrid/paired (generator + storage) resource, report the storage total depth in MWh here. Otherwise, leave this column blank.  *Note: This field is for the whole storage resource and not the LSE’s portion of the project.* | numeric |
| contracted\_storage\_depth\_mwh | If the resource is a standalone storage or a hybrid/paired (generator + storage) resource, report the storage total depth in MWh that LSE has contracted for. Otherwise, leave this column blank.  *Note: This field is for the LSE’s contracted amount from the storage and not the whole storage resource.* | numeric |
| viability\_cod\_reasonableness | Choose 1 - 4 below to report on project viability. This is only necessary for projects not online yet.  4 - Interconnection studies complete, and agreement signed consistent with reported COD; permitting application complete.  3 - Interconnection Phase II study complete; permitting application approved; these support reported COD.  2 - Interconnection Phase II study in progress; permitting application in progress; LSE has plan that supports reported COD.  1 - Interconnection Phase II study not begun. | string |
| viability\_technical\_feasibility | Choose 1 – 3 below to report on technical feasibility. This is only necessary for resources not online yet.  3. Project-specific independent engineering assessment is complete and supports the delivery profile (capacity and/or production) AND Project uses commercialized technology.  2 - Project will use a commercialized technology solution that is currently in use at a minimum of two operating facilities of similar or larger size.  1 – Project uses NEITHER commercialized technology NOR has project specific engineering assessment. | string |
| viability\_financing\_sitecontrol | Choose 0 - 5 below to report on financing. This is only necessary for resources not yet online.  5 - All Financing Secured.  4 - Partial Financing Secured.  3 - Seeking Financing.  2 – Project has site control but not Yet Seeking Financing.  1 – Project does not yet have site control.  0-No Financing Required. | string |
| resource\_mix | Please fill this field only if for the following resources. Otherwise, leave this column blank.   * The resource has supertype = unspecifiedimport, unspecifiednonimpor, supplierschoice * The resource has resolve\_final\_group = caiso\_unkown (this is for newgeneric and newresolve) \_EXISTING\_GENERIC\_UNKNOWN, \_NEW\_GENERIC\_UNKNOWN   “supertype” and “resolve\_final\_group” are specified for each resource in the RDTv3.resources.resource.  Please specify technology mix of energy making up a contract in the following form: [techtype1, value1] [techtype2, value2]… For techtype please use only the following values (case insensitive): thermal, solar, wind, wind\_low\_cf, wind\_hi\_cf, hydro, battery, geothermal, biogas, biomass, ct, ccgt, chp, nuclear, dr, other, unknown. The values should be equal to the MW of each technology and the sum of values should be equal to the total MW of the LSE’s contract. | string |
| cam\_d1911016\_vamo\_ghgfreepcia | Dropdown list: CAM, D.19-11-016, VAMO, GHG-free PCIA  “CAM” refers to eligible resources that are currently subject to the cost allocation mechanism.  “D.19-11-016" refers to eligible resources that are procured by IOUs on behalf of other LSEs for compliance with the D.19-11-016 procurement decision either because an LSE opted out of its D.19-11-016 procurement requirements or was not assigned a procurement obligation under D.19-11-016, and thus will have a certain amount of procurement occurring on their behalf  “VAMO” refers to the attributes of resources subject to the Voluntary Allocation and Market Offer mechanism, established in D.21-05-030, whereby IOUs offer PCIA-eligible LSEs an allocation of the attributes of an IOU’s PCIA-eligible RPS portfolio and attempt to sell any unallocated resources through an annual market offer process.  “GHG-free PCIA” refers to allocation of the GHG-free energy attributes of non-RPS, PCIA-eligible, GHG-free energy (I.e., nuclear and large hydro) from IOUs to PCIA-eligible LSEs, which has thus far been approved for PG&E and SCE on an interim basis.  Note: for more details, please see section 8 | string |
| buy\_sell\_own | Select from the Dropdown list: Buy, Sell, Own  Own: If LSE owns the project/resource.  Buy: If LSE is buying the capacity/energy from another LSE. If it is buy from a non-LSE supplier, leave this column blank.  Sell: if LSE is selling the capacity/energy to another entity (LSE or non-LSE)  Note: for more details, please see section 8 | string |
| counterparty | Dropdown list including lse names and some generic options. Leave this column blank if not applicable.  Note: for more details, please see section 8 | string |
| generator\_supplier | Name of supplier selling capacity. No dropdown. Please capitalize all names, include no special characters, and underscore instead of spaces between words. This column is only required when the resource is "\_SUPPLIERS\_CHOICE." Otherwise, leave this column blank.  Note: for more details, please see section 8 | string |
| developer\_name | If the project is new construction, please select the name of the developer from the dropdown list. If the name is not listed, enter the name of the developer and press ‘Yes’ on the popup. If the project is not new construction, please enter “NA”  The full list of developers can be found on the “misc” tab in the *caiso\_interconnection\_customer*s column | string |
| capacity\_area | Dropdown list; Options include CAISO local areas, PTO area in CAISO if not Local Area, or PTO of interconnection in WECC if not in CAISO. | string |
| capacity\_sub\_area | Dropdown list:  North Coast – Eagle Rock  North Coast – Fulton  Sierra – Placer  Sierra – Pease  Sierra – Gold Hill-Drum  Stockton – Lockeford  Stockton – Tesla-Bellota  Greater Bay – Llagas  Greater Bay – San Jose  Greater Bay – South Bay – Moss Landing  Greater Bay – Oakland  Greater Fresno – Panoche  Greater Fresno – Herndon  Greater Fresno – Hanford  Greater Fresno – Coalinga  Greater Fresno – Borden  Greater Fresno – Reedley  Kern – Westpark  Kern – Kern Power-Tevis  Kern – Kern Oil  Kern – South Kern PP  Big Creek/Ventura - Vesta  Big Creek/Ventura - Santa Clara  LA Basin – Eastern  LA Basin – Western  LA Basin – El Nido  San Diego/Imperial Valley – San Diego  San Diego/Imperial Valley – El Cajon  San Diego/Imperial Valley – Border  No\_sub\_area | string |
| cpuc\_approval\_ref | Insert the Decision # or Advice Letter # by which the resource was approved by the CPUC, if applicable. If pending approval by the CPUC, enter “FILED”. This field can be left blank for LSEs who do not have their contracts approved by the CPUC. | string |
| county | Select the county the project is located in from the drop-down list. If the project is not located in California, select the state it is located in.  Dropdown list; counties in CA, other states in WECC. | string |
| COD\_year | Enter the commercial operation date of the project (year). If the project is not yet online, enter the projected COD. Please select from the drop-down list. | numeric |
| COD\_month | Enter the commercial operation date of the project (month) If the project is not yet online, enter the projected COD. Please select from the drop-down list. | numeric |
| COD\_day | Enter the commercial operation date of the project (day) If the project is not yet online, enter the projected COD. Please select from the drop-down list. | numeric |
| contract\_start\_date\_year | Enter the date (year) when energy/capacity deliveries are contracted to start, or planned to start if the project is yet contracted. Please select from the drop-down list. | numeric |
| contract\_start\_date\_month | Enter the date (month) when energy/capacity deliveries are contracted to start, or planned to start if the project is yet contracted. Please select from the drop-down list. | numeric |
| contract\_start\_date\_day | Enter the date (day) when energy/capacity deliveries are contracted to start, or planned to start if the project is yet contracted. Please select from the drop-down list. | numeric |
| contract\_end\_date\_year | Enter the date (year) when energy/capacity deliveries are contracted to end, or planned to end if the project is yet contracted. Please select from the drop-down list. | numeric |
| contract\_end\_date\_month | Enter the date (month) when energy/capacity deliveries are contracted to end, or planned to end if the project is yet contracted. Please select from the drop-down list. | numeric |
| contract\_end\_date\_day | Enter the date (day) when energy/capacity deliveries are contracted to end, or planned to end if the project is yet contracted. Please select from the drop-down list. | numeric |
| contract\_execution\_date\_year | Enter the date (year) when the contract was executed. If the contract has not been executed, enter “NA”. Please select from the drop-down list.  Note: If a contract has been amended, please use the original contract execution date. | numeric |
| contract\_execution\_date\_month | Enter the date (month) when the contract was executed. If the contract has not been executed, enter “NA”. Please select from the drop-down list.  Note: If a contract has been amended, please use the original contract execution date. | numeric |
| contract\_execution\_date\_day | Enter the date (day) when the contract was executed. If the contract has not been executed, enter “NA”. Please select from the drop-down list.  Note: If a contract has been amended, please use the original contract execution date. | numeric |
| tx\_upgrades | Please report if any upgrade(s) [Reliability Network Upgrade (IRNU or GRNU), a Local delivery Network Upgrades (LDNUs) or an Area Delivery Network Upgrades (ADNU)] is needed for this project. if the project is already online, enter “NA”. If the resource is generic or is pre-phase 1 and upgrade information is not yet known, enter “NA” Please select from the drop-down list. | string |
| tx\_upgrade\_date\_year | Enter the date (year) when the transmission upgrade is scheduled to come online. Please select from the drop-down list. | numeric |
| tx\_upgrade\_date\_month | Enter the date (month) when the transmission upgrade is scheduled to come online. Please select from the drop-down list. | numeric |
| tx\_upgrade\_date\_day | Enter the date (day) when the transmission upgrade is scheduled to come online. Please select from the drop-down list. | numeric |
| tx\_upgrade\_description | Brief identifying description of upgrade(s) including type of upgrade(s) and any additional information that LSEs want to provide about upgrade(s) needed for this project | string |
|  |  |  |
| d2106035\_procurement\_cat | Please indicate using the drop-down list whether this project is planned to be used to meet procurement requirements of D.21-06-035. If this project does not count toward D.21-06-035 requirements, enter “NA”. Select only procurement categories applicable to this project. Ensure each row added has a unique *lse\_unique\_contract\_id* and that the values in each row reflect only the applicable contracted attributes. .    “general” refers to procurement that is not planned to meet any of the other procurement categories of D.21-06-035.    “ZE\_gen\_paired\_dr” refers to the procurement category: Zero-emissions generation, generation paired with storage, or demand response resources, required by 2025, not necessarily in 2025. This is also sometimes referred to as the “Diablo Canyon Replacement” or DCR requirement and procurement.  Note: DCR procurement also counts towards the general annual requirements. Rows where a project is being counted towards the DCR requirement will automatically be counted towards general.    “long\_duration\_storage” refers to the long-duration storage resource procurement category due by 2028    “firm\_ZE” refers to firm zero-emitting resource procurement category due by 2028  Dropdown list:  NA  firm\_ZE  general  long\_duration\_storage  ZE\_gen\_paired\_dr | string |
| mtr\_tranche1\_NQC | Please enter the NQC value you expect this project will contribute to meeting your 2023 D.21-06-035 (MTR) obligation.  CPUC staff will be checking if this value is equal to or less than the “mtr\_nqc\_validation\_tool” tab calculated NQC value.  Note: the general procurement for each tranche should include any DCR procurement being used towards each tranche.  See instructions for the “mtr\_nqc\_validation\_tool” tab in Section 12: MTR NQC Validation Tool and Summary. Note this column can be filled out after completing the steps in the Section 12: MTR NQC Validation Tool and Summary.  The NQC entered should be based upon the ELCCs established for the MTR procurement, as well as the procedures regarding use of the ELCCs. The following materials on ELCCs contain guidance and can be found on the [IRP Procurement Track webpage](https://www.cpuc.ca.gov/industries-and-topics/electrical-energy/electric-power-procurement/long-term-procurement-planning/more-information-on-authorizing-procurement/irp-procurement-track), under “Additional Procurement Guidance”:   * June 2023 Staff Memo * 2023 Staff Transmittal Memo * Incremental ELCC Study for Mid-Term Reliability Procurement (January 2023 Update) * 2021 Staff Transmittal Memo * 2021 Incremental ELCC Study for Mid-Term Reliability Procurement by E3 and Astrapé   Note: this column is not asking if this contract will be delivering in 2023. This is ONLY asking whether this contract is contributing to meeting an LSE’s 2023 obligation, and if so, what the NQC will be. For the vast majority of projects, an LSE should expect to fill in only one of these columns and leave blank the other columns (i.e., the initial NQC shown will be assumed to carry forward at that level). An LSE will use multiple columns if one project or contract is being used to meet multiple tranches of an LSE’s requirement.  Note: Please enter any Long-Lead Time Procurement in whatever tranche you are using it to meet. Most, but not all, Long Lead Time Procurement will be in tranche 6.  Note: If a resource is being procured pursuant to the “Zero-emissions generation, generation paired with storage, or demand response resources” aka “Diablo Canyon Replacement” requirement, it likely also may serve an LSE’s annual requirement. Since the “mtr\_NQC\_ZE\_gen\_paired\_dr” column is totaled separately, please ensure the appropriate NQC is also put in the appropriate mtr\_tranche\_NQC column. | numeric |
| mtr\_tranche2\_NQC | Please enter the NQC value you expect this project will contribute to meeting your 2024 D.21-06-035 (MTR) obligation.  CPUC staff will be checking if this value is equal to or less than the “mtr\_nqc\_validation\_tool” tab calculated NQC value.  Note: the general procurement for each tranche should include any DCR procurement being used towards each tranche.  See instructions for the “mtr\_nqc\_validation\_tool” tab in Section 12: MTR NQC Validation Tool and Summary. Note this column can be filled out after completing the steps in the Section 12: MTR NQC Validation Tool and Summary.  The NQC entered should be based upon the ELCCs established for the MTR procurement, as well as the procedures regarding use of the ELCCs. The following materials on ELCCs contain guidance and can be found on the [IRP Procurement Track webpage](https://www.cpuc.ca.gov/industries-and-topics/electrical-energy/electric-power-procurement/long-term-procurement-planning/more-information-on-authorizing-procurement/irp-procurement-track), under “Additional Procurement Guidance”:   * June 2023 Staff Memo * 2023 Staff Transmittal Memo * Incremental ELCC Study for Mid-Term Reliability Procurement (January 2023 Update) * 2021 Staff Transmittal Memo * 2021 Incremental ELCC Study for Mid-Term Reliability Procurement by E3 and Astrapé   Note: this column is not asking whether or not this contract will be delivering in 2024. This is ONLY asking whether this contract is contributing to meeting an LSE’s 2024 obligation, and if so, what the NQC will be. For the vast majority of projects, an LSE should expect to fill in only one of these columns and leave blank the other columns (i.e., the initial NQC shown will be assumed to carry forward at that level). An LSE will would use multiple columns if one project or contract is being used to meet multiple tranches of an LSE’s requirement.  Note: Please enter any Long-Lead Time Procurement in whatever tranche you are using it to meet. Most, but not all, Long Lead Time Procurement will be in tranche 6.  Note: If a resource is being procured pursuant to the “Zero-emissions generation, generation paired with storage, or demand response resources” aka “Diablo Canyon Replacement” requirement, it likely also may serve an LSE’s annual requirement. Since the “mtr\_NQC\_ZE\_gen\_paired\_dr” column is totaled separately, please ensure the appropriate NQC is also put in the appropriate mtr\_tranche\_NQC column. If a resource happens to be zero emitting but it is not being claimed for zero emissions compliance, do not use this field. | numeric |
| mtr\_tranche3\_NQC | Please enter the NQC value you expect this project will contribute to meeting your 2025 D.21-06-035 (MTR) obligation.  CPUC staff will be checking if this value is equal to or less than the “mtr\_nqc\_validation\_tool” tab calculated NQC value.  Note: the general procurement for each tranche should include any DCR procurement being used towards each tranche.  See instructions for the “mtr\_nqc\_validation\_tool” tab in Section 12: MTR NQC Validation Tool and Summary. Note this column can be filled out after completing the steps in the Section 12: MTR NQC Validation Tool and Summary.  The NQC entered should be based upon the ELCCs established for the MTR procurement, as well as the procedures regarding use of the ELCCs. The following materials on ELCCs contain guidance and can be found on the [IRP Procurement Track webpage](https://www.cpuc.ca.gov/industries-and-topics/electrical-energy/electric-power-procurement/long-term-procurement-planning/more-information-on-authorizing-procurement/irp-procurement-track), under “Additional Procurement Guidance”:”:   * June 2023 Staff Memo * 2023 Staff Transmittal Memo * Incremental ELCC Study for Mid-Term Reliability Procurement (January 2023 Update) * 2021 Staff Transmittal Memo * 2021 Incremental ELCC Study for Mid-Term Reliability Procurement by E3 and Astrapé   Note: this column is not asking whether or not this contract will be delivering in 2025. This is ONLY asking whether this contract is contributing to meeting an LSE’s 2025 obligation, and if so, what the NQC will be. For the vast majority of projects, an LSE should expect to fill in only one of these columns and leave blank the other columns (i.e., the initial NQC shown will be assumed to carry forward at that level). An LSE will would use multiple columns if one project or contract is being used to meet multiple tranches of an LSE’s requirement.  Note: Please enter any Long-Lead Time Procurement in whatever tranche you are using it to meet. Most, but not all, Long Lead Time Procurement will be in tranche 6.  Note: If a resource is being procured pursuant to the “Zero-emissions generation, generation paired with storage, or demand response resources” aka “Diablo Canyon Replacement” requirement, it likely also may serve an LSE’s annual requirement. Since the “mtr\_NQC\_ZE\_gen\_paired\_dr” column is totaled separately, please ensure the appropriate NQC is also put in the appropriate mtr\_tranche\_NQC column. If a resource happens to be zero emitting but it is not being claimed for zero emissions compliance, do not use this field. | numeric |
| mtr\_tranche4\_NQC | Please enter the NQC value you expect this project will contribute to meeting your 2026 D.23-02-040 (Supplemental MTR) obligation.  CPUC staff will be checking if this value is equal to or less than the “mtr\_nqc\_validation\_tool” tab calculated NQC value.  Note: the general procurement for each tranche should include any DCR procurement being used towards each tranche.  See instructions for the “mtr\_nqc\_validation\_tool” tab in Section 12: MTR NQC Validation Tool and Summary. Note this column can be filled out after completing the steps in the Section 12: MTR NQC Validation Tool and Summary.  The NQC entered should be based upon the ELCCs established for the MTR and Supplemental procurement, as well as the procedures regarding use of the ELCCs. The following materials on ELCCs contain guidance and can be found on the [IRP Procurement Track webpage](https://www.cpuc.ca.gov/industries-and-topics/electrical-energy/electric-power-procurement/long-term-procurement-planning/more-information-on-authorizing-procurement/irp-procurement-track), under “Additional Procurement Guidance”:   * June 2023 Staff Memo * 2023 Staff Transmittal Memo * Incremental ELCC Study for Mid-Term Reliability Procurement (January 2023 Update) * 2021 Staff Transmittal Memo * 2021 Incremental ELCC Study for Mid-Term Reliability Procurement by E3 and Astrapé   Note: this column is not asking whether or not this contract will be delivering in 2026. This is ONLY asking whether this contract is contributing to meeting an LSE’s 2026 obligation, and if so, what the NQC will be. For the vast majority of projects, an LSE should expect to fill in only one of these columns and leave blank the other columns (i.e., the initial NQC shown will be assumed to carry forward at that level). An LSE will would use multiple columns if one project or contract is being used to meet multiple tranches of an LSE’s requirement.  Note: Please enter any Long-Lead Time Procurement in whatever tranche you are using it to meet. Most, but not all, Long Lead Time Procurement will be in tranche 6.  Note: If a resource is being procured pursuant to the “Zero-emissions generation, generation paired with storage, or demand response resources” aka “Diablo Canyon Replacement” requirement, it likely also may serve an LSE’s annual requirement. Since the “mtr\_NQC\_ZE\_gen\_paired\_dr” column is totaled separately, please ensure the appropriate NQC is also put in the appropriate mtr\_tranche\_NQC column. If a resource happens to be zero emitting but it is not being claimed for zero emissions compliance, do not use this field. | numeric |
| mtr\_tranche5\_NQC | Please enter the NQC value you expect this project will contribute to meeting your 2027 D.23-02-040 (Supplemental MTR) obligation.  CPUC staff will be checking if this value is equal to or less than the “mtr\_nqc\_validation\_tool” tab calculated NQC value.  Note: the general procurement for each tranche should include any DCR procurement being used towards each tranche.  See instructions for the “mtr\_nqc\_validation\_tool” tab in Section 12: MTR NQC Validation Tool and Summary. Note this column can be filled out after completing the steps in the Section 12: MTR NQC Validation Tool and Summary.  The NQC entered should be based upon the ELCCs established for the MTR and Supplemental MTR procurement, as well as the procedures regarding use of the ELCCs. <https://www.cpuc.ca.gov/industries-and-topics/electrical-energy/electric-power-procurement/long-term-procurement-planning/more-information-on-authorizing-procurement/irp-procurement-track> The following materials on ELCCs contain guidance and can be found on the [IRP Procurement Track webpage](https://www.cpuc.ca.gov/industries-and-topics/electrical-energy/electric-power-procurement/long-term-procurement-planning/more-information-on-authorizing-procurement/irp-procurement-track), under “Additional Procurement Guidance”:, under “Additional Procurement Guidance”:   * June 2023 Staff Memo * 2023 Staff Transmittal Memo * Incremental ELCC Study for Mid-Term Reliability Procurement (January 2023 Update) * 2021 Staff Transmittal Memo * 2021 Incremental ELCC Study for Mid-Term Reliability Procurement by E3 and Astrapé   Note: this column is not asking whether or not this contract will be delivering in 2027. This is ONLY asking whether this contract is contributing to meeting an LSE’s 2027 obligation, and if so, what the NQC will be. For the vast majority of projects, an LSE should expect to fill in only one of these columns and leave blank the other columns (i.e., the initial NQC shown will be assumed to carry forward at that level). An LSE will would use multiple columns if one project or contract is being used to meet multiple tranches of an LSE’s requirement.  Note: Please enter any Long-Lead Time Procurement in whatever tranche you are using it to meet. Most, but not all, Long Lead Time Procurement will be in tranche 6.  Note: If a resource is being procured pursuant to the “Zero-emissions generation, generation paired with storage, or demand response resources” aka “Diablo Canyon Replacement” requirement, it likely also may serve an LSE’s annual requirement. Since the “mtr\_NQC\_ZE\_gen\_paired\_dr” column is totaled separately, please ensure the appropriate NQC is also put in the appropriate mtr\_tranche\_NQC column. | numeric |
| mtr\_tranche6\_NQC | Please enter the NQC value you expect this project will contribute to meeting your 2028 D.21-06-035 (MTR) obligation.  CPUC staff will be checking if this value is equal to or less than the “mtr\_nqc\_validation\_tool” tab calculated NQC value.  Note: the general procurement for each tranche should include any DCR procurement being used towards each tranche.  See instructions for the “mtr\_nqc\_validation\_tool” tab in Section 12: MTR NQC Validation Tool and Summary. Note this column can be filled out after completing the steps in the Section 12: MTR NQC Validation Tool and Summary.  The NQC entered should be based upon the ELCCs established for the MTR procurement, as well as the procedures regarding use of the ELCCs. The following materials on ELCCs contain guidance and can be found on the [IRP Procurement Track webpage](https://www.cpuc.ca.gov/industries-and-topics/electrical-energy/electric-power-procurement/long-term-procurement-planning/more-information-on-authorizing-procurement/irp-procurement-track), under “Additional Procurement Guidance”:, under “Additional Procurement Guidance”:   * June 2023 Staff Memo * 2023 Staff Transmittal Memo * Incremental ELCC Study for Mid-Term Reliability Procurement (January 2023 Update) * 2021 Staff Transmittal Memo * 2021 Incremental ELCC Study for Mid-Term Reliability Procurement by E3 and Astrapé   Note: this column is not asking whether or not this contract will be delivering in 2028. This is ONLY asking whether this contract is contributing to meeting an LSE’s 2028 obligation, and if so, what the NQC will be. For the vast majority of projects, an LSE should expect to fill in only one of these columns and leave blank the other columns (i.e., the initial NQC shown will be assumed to carry forward at that level). An LSE will would use multiple columns if one project or contract is being used to meet multiple tranches of an LSE’s requirement.  Note: Please enter any Long-Lead Time Procurement in whatever tranche you are using it to meet. Most, but not all, Long Lead Time Procurement will be in tranche 6. While this tranche 6 column should contain mostly Long Lead Time Procurement, any other procurement using tranche 6 ELCCs should be entered in this column.  Note: If a resource is being procured pursuant to the “Zero-emissions generation, generation paired with storage, or demand response resources” aka “Diablo Canyon Replacement” requirement, it likely also may serve an LSE’s annual requirement. Since the “mtr\_NQC\_ZE\_gen\_paired\_dr” column is totaled separately, please ensure the appropriate NQC is also put in the appropriate mtr\_tranche\_NQC column. | numeric |
| mtr\_NQC\_ZE\_gen\_paired\_dr | Please enter the NQC value you expect this project will contribute to meeting your obligation for zero-emission generation, generation paired with storage, or demand response resources.  CPUC staff will be checking if this value is equal to or less than the “mtr\_nqc\_validation\_tool” tab calculated NQC value.  See instructions for the “mtr\_nqc\_validation\_tool” tab in Section 12: MTR NQC Validation Tool and Summary. Note this column can be filled out after completing the steps in the Section 12: MTR NQC Validation Tool and Summary.  The NQC entered should be based upon the ELCCs established for the MTR procurement, as well as the procedures regarding use of the ELCCs. The following materials on ELCCs contain guidance and can be found on the [IRP Procurement Track webpage](https://www.cpuc.ca.gov/industries-and-topics/electrical-energy/electric-power-procurement/long-term-procurement-planning/more-information-on-authorizing-procurement/irp-procurement-track), under “Additional Procurement Guidance”:, under “Additional Procurement Guidance”:   * June 2023 Staff Memo * 2023 Staff Transmittal Memo * Incremental ELCC Study for Mid-Term Reliability Procurement (January 2023 Update) * 2021 Staff Transmittal Memo * 2021 Incremental ELCC Study for Mid-Term Reliability Procurement by E3 and Astrapé   Note: The NQC value entered in this column should be only the value being applied toward this procurement category. This column will not be added for annual NQC purposes, so make sure the total procurement toward an annual obligation is also reported in one of the appropriate mtr\_tranche\_NQC columns above. | numeric |
| bridge\_to | If the contract in this row serves as a compliance bridge for another contract, select the targeted *lse\_unique\_contract\_id* from the dropdown. | string |
| previous\_COD\_year | If this project was included on a previous CPUC filing, please indicate the previously submitted COD (year). If this has not been included on a previous report, enter “NA”. If this project is not pursuant to an IRP Procurement Order, please leave this field blank. Please select from the drop-down list. | numeric |
| previous\_COD\_month | If this project was included on a previous CPUC filing, please indicate the previously submitted COD (month). If this has not been included on a previous report, enter “NA”. If this project is not pursuant to an IRP Procurement Order, please leave this field blank. Please select from the drop-down list. | numeric |
| previous\_COD\_day | If this project was included on a previous CPUC filing, please indicate the previously submitted COD (day). If this has not been included on a previous report, enter “NA”. If this project is not pursuant to an IRP Procurement Order, please leave this field blank. Please select from the drop-down list. | numeric |
| remediation\_plan | Please indicate whether you are submitting a remediation plan with this report. This indicates that the project has failed to meet one or more milestone requirements on time. If this project is not pursuant to an IRP Procurement Order, please choose “NA”. Please select from the drop-down list: “Yes”, “No”, “NA”. | string |
| signed\_contract | Indicate whether or not an executed contract with the entity with contractual rights to the resource for a commercially viable technology exists.  No indicates the project does not yet have an executed contract.  Please select from the drop-down list: “Yes”, “No” | string |
| notice\_to\_proceed | Indicate whether or not a "notice to proceed" or similar contractual evidence of construction commencement has been submitted to the CPUC with this report. If this project is not pursuant to an IRP Procurement Order, please leave this field blank.  Please select from the drop-down list: “Yes”, “No” | string |
| public\_contract | Is this contract publicly announced? Please provide a description.  Note: If some contract information is public and other information is confidential, please make that clear here. This will inform how much the Commission can say about the contract in public documents. If you think you need to add more details, please add to the note column. | string |
| buying\_energy\_capacity | Please report if this is an energy only contract, capacity only contract, or it delivers both energy and capacity. Please select from the drop-down list: drop-down options of "EnergyCapacity, EnergyOnly, CapacityOnly” | string |
| NQC\_reporting\_source | Select if the reported the NQC values(s) for this contract were specified in the contract itself or if these values are the result of an estimation. MTR NQC values are assumed to be calculated. Please select from the drop-down list: “In the contract” or “Calculated” | string |
| procurement\_origin | Please report the origin for procuring this project. Some examples are: RPS, D1911016, D2106035, emergencyreliability, storagemandate, selfgenerationincentiveprogram, localcapacityrequirement  Note: If it’s more than one, please list all. | string |
| csp\_resource\_category | For each contract, select the appropriate CSP category from the drop-down list. Please review section 9 for more details. A resource is considered “existing” in the CSP calculator if it is a baseline resource or, in the case of planned existing, is expected to be a baseline resource, in the RDT “resources” tab. Note that the units to be used in the proceeding csp\_annual\_YYYY columns are specified for each selectable resource type in the dropdown. These include:   * NA * Large Hydro (GWh) * Imported Hydro (GWh) * Asset Controlling Supplier (GWh) * Nuclear (GWh) * Biogas (GWh) * Biomass (GWh) * Geothermal (GWh) * Small Hydro (GWh) * Wind Baseline California (GWh) * Wind New PG&E (GWh) * Wind New SCE SDG&E (GWh) * Wind Pacific Northwest (GWh) * Wind Wyoming (GWh) * Wind New Mexico (GWh) * Wind Offshore Morro Bay (GWh) * Wind Offshore Humboldt (GWh) * Solar Baseline California (GWh) * Solar New PG&E (GWh) * Solar New SCE SDG&E (GWh) * Solar Distributed (GWh) * Hybrid\_or\_Paired\_Solar\_and\_Battery (GWh) * Shed DR (MW) * Pumped Storage (MW) * Battery Storage (MWh Energy Capacity) * Storage Resource Custom Profile (MW) * RPS Resource Custom Profile (GWh) * GHG-free non-RPS Resource Custom Profile (GWh) * Coal (GWh)   Note: Please review section 9 for more details. | string |
| csp\_annual\_2024 | Report the project’s delivery for the CSP's 2024 study years based on the specified unit. Please review section 9 for more details. | numeric |
| csp\_annual\_2026 | Report the project’s delivery for the CSP's 2026 study years based on the specified unit. Please review section 9 for more details. | numeric |
| csp\_annual\_2030 | Report the project’s delivery for the CSP's 2030 study years based on the specified unit. Please review section 9 for more details. | numeric |
| csp\_annual\_2035 | Report the project’s delivery for the CSP's 2035 study years based on the specified unit. Please review section 9 for more details. | numeric |
| macro\_supertype | This is a field reserved for RDTv3 macro use. Please do not enter any data into this field. This field will be automatically populated with supertype value by RDTv3 macro based on supertype value (RDTv3.resources.resource\_supertype) corresponding to resource name. |  |
| notes | Any additional information that LSEs want to provide and was not captured in the existing fields. | string |

# Resources

RDTv3 defines a list of valid resource names. This list is defined as of the Cutoff Date defined in the contract status section, below. In RDTv3 this list is located in RDTv3.Resources.resource. This list contains specified physical resources, unspecified resources that are delivered over a specific transmission branch group, or unspecified resources that are from a specific competitive renewable energy zone (CREZ)[[1]](#footnote-2). There are also options for resources that have less specific information. For resources where the specific name is not included in the resource list, please use the generic branch name. Include the CAISO ID or other specific name in the “alternative\_resource\_name” column.

The types of resource names in the resource list are:

* Baseline resources (either CAISO ID, ADS name, RPS name, name from the Mid-Term Reliability Baseline Generator List, or other name like DR program)
* Resources from the CAISO Generator Interconnection Resource ID Report, as of the release
* Branch Group names of the form “GENERIC\_BRANCH\_branchname” where “branchname” is the name of the transmission branch name.
* CREZ names of the form “GENERIC\_CREZ\_crezname” where “crezname” is the name of the CREZ.
* Unbundled recs from a particular CREZ of the form “UNBUNDLED\_crezname.”
* Special case values (“unspecified”, “unbundledrec”, “sellerschoice”)

# Contract Status

“contract\_status” takes one of the following values: Online, Development, Review, Plannedexisting and Plannednew. These are the only accepted values for “contract\_status” (case insensitive). The meanings of these terms are defined in the table below.

|  |  |
| --- | --- |
| **contract\_status** | **Meaning** |
| Online | Contract has been signed (or LSE owns the resource) and the resource is online as of Cutoff Date. The Cutoff Date is defined in the 2023 IRP Filing Requirements Overview. |
| Development | Contract has been signed and approved by CPUC and/or LSE’s highest decision-making authority as applicable (or LSE owns the resource), but resource is still under development and not yet online (as of Cutoff Date). |
| Review | Contract has been selected and is under review by LSE’s highest decision-making authority (e.g. board of directors) as of final resource table Cutoff Date. For LSE-owned resources, this means that the decision-making authority is reviewing whether to authorize an LSE-owned resource. This includes contracts shortlisted as a result of an RFO or a similar procurement method. It can also include bilateral contracts not resulting from a Request for Offer (RFO). |
| Plannedexisting | Contract is not yet (as of Cutoff Date) signed, and resource has a valid Resource ID in the resources table (RDTv3.resources.resource) |
| Plannednew | Contract is not yet (as of Cutoff Date) signed, and resource does not have a valid Resource ID in the resources table (RDTv3.resources.resource) |

# Supertype

Supertype is a property that is defined for each physical or generic resource defined in the resources table (RDTv3.resources.supertype). The table below defines meanings for the various supertypes.

|  |  |
| --- | --- |
| **supertype** | **Meaning** |
| physical | A specific existing resource. |
| existinggeneric | Unspecified existing physical resource |
| newresolve | New resource that can be mapped to a particular CREZ |
| newgeneric | New resource that cannot be mapped to a particular CREZ or for which the LSE has not planned to procure a particular technology |
| newloadmod | New load modifier resource |
| specifiedimport | Specific existing resource with a CAISO ID that is imported from outside of the CAISO. |
| supplierschoice | LSE buys capacity/energy from a non-LSE entity that is able to provide a mix of resources that are not predetermined in a contract. |
| unbundledrec | A contract for Renewable Energy Credits, not unit specific energy, that is not actually delivered to CAISO. There is no energy or capacity product associated with this contract, and this is primarily for RPS compliance |
| unspecifiedimport | Imports from outside of the CAISO, delivered over a particular intertie branch group. Resource mix not known. |
| unspecifiednonimport | A contract for a quantity of energy that is not unit specific, sourced from capacity within the CAISO. |

# Key Relationships

For each entry in the RDT, there are several important relationships that must be maintained between certain fields within the input table.

* **supertype-to-contract\_status:** For every value of supertype, “contract\_status” can take the values indicated in the table below. Any other choice will be flagged as an error.

|  |  |
| --- | --- |
| **supertype** | **contract\_status** |
| physical | Online, Development, Plannedexisting |
| existinggeneric | Online, Plannedexisting |
| newresolve | Online, Development, Review, Plannednew |
| newgeneric | Online, Development, Review, Plannednew |
| newloadmod | Online, Development, Review, Plannednew |
| specifiedimport | Online, Plannedexisting |
| supplierschoice | Online, Plannedexisting |
| unbundledrec | Online, Plannedexisting |
| unspecifiedimport | Online, Plannedexisting |
| unspecifiednonimport | Online, Plannedexisting |

# Instructions for specific resources/contracts

1. **D.19-11-016**
   1. **If an LSE opted out of D.19-11-016 or was not assigned an obligation, they do not need to report procurement occurring on their behalf for IRP procurement compliance filings.**
   2. If an LSE is only procuring its own obligations under D.19-11-016, the LSE must enter each project’s resource/contract details the same way as it does for other contracts.
      * For these resources, LSE needs to select “d1911016” in column “*cam\_d1911016\_vamo\_ghgfreepcia*”, and select the applicable tranche(s) in the in the column *“d1911016\_tranche*”
      * If the LSE owns the resource, select “own” in column “*buy\_sell\_own*”. If it is a buy from a non-LSE supplier, leave the “buy\_sell\_own” column blank.
   3. For IOUs that are procuring both their own obligation and on behalf of opt-out LSEs, they can report their own portions and opt out portions of the project in the same line *for IRP procurement compliance filings*.
   4. Also, please note that D.19-11-016 resources now do not need to be reported in *IRP procurement compliance filings* unless they were not online as of the previous filing. These resources still need to be reported in individual integrated resource plan filings and may be required for other filings or data requests.
2. **CAM resources: LSEs do not need to input CAM or RA assigned DR allocations for *IRP procurement compliance filings*.**
3. **GHG free PCIA resources: LSEs do not need to enter GHG free PCIA resources for *IRP procurement compliance filings*.**
4. **VAMO: LSEs only need to enter VAMO resources to the extent they impact or are part of an LSE’s IRP procurement compliance requirements.**

Please note that many of the above resource types (CAM, PCIA, VAMO, etc.) will be required in LSE’s full Integrated Resource Plan filings in order to understand the LSE’s full portfolio (and allow functionality of CSP and Reliability tabs). The above instructions apply only to the biannual IRP procurement compliance filings.

1. **Inter LSE Transfers:** For other inter LSE transfers of IRP procurement compliance resources, LSEs need to enter them by selecting the resource being either purchased or sold in the resource column selected from the drop-down list, indicating whether it is a purchase (buy) or a sale (sell) in the “buy\_sell\_own” column.
   1. LSE needs to select the counterparty from the drop-down list in the “counterparty” column. If the resource is being sold by the LSE to a non-LSE counterparty, select “non-LSE counterparty” from the drop-down list.
   2. it is a buy from a non-LSE supplier, leave the “*buy\_sell\_own*” column blank.
   3. LSEs do not need to report buy/sell for each resource individually. However, these must be bundled by resource type.
2. **suppliers\_choice**: This listing is only for when the LSE is purchasing from a non-LSE counterparty AND the resource being procured is not unit specific or the LSE does not know the specific mix of generation. If the counterparty is an LSE, then please follow directions for either unspecified import or unspecified non-import resources. In the event of a supplier’s choice, the LSE is requested to select “suppliers\_choice” in the dropdown in the resource tab and use the ”*generator\_supplier*” field to name the non-LSE supplier with whom the LSE has a contract. Please also use the *resource\_mix* field to describe the estimated mix of resource types in the contract. Also estimate the resource nameplate for the contract.
3. **Resources with changing operational characteristics over the course of the time horizon**: Some resources, like a hybrid resource that will charge from the grid in later years, may have operational characteristics that change over the course of the time horizon. In these cases, please enter them as two (or more) separate lines in the "unique\_contracts" table.
4. **Marginal additions:** Marginal additions refer to the resources that their capacity has been expanded (e.g. adding batteries to an existing solar facility, adding additional solar to an existing solar facility, etc.) over the reporting time frame.
   1. If this project is based on expanding an already existing resource in the "RDTv3.resources.resource" (e.g. adding more solar capacity to one of the existing solar resources in the resource tab):
      * Select one of the generic resources from "RDTv3.resources.resource" with a specific type that reflects this resource.
      * Follow the instruction for the *marginal\_addition* field.
      * Report the existing resource name in the “*marginal\_addition\_to*” field (the resource that has been expanded)
      * Report the rest of the fields for the expanded project.
   2. If this project is based on adding storage to an already existing generator, follow the “Hybrid/paired resource” instruction.
5. **Hybrid/paired resource:** A hybrid/paired resource consists of a generator and storage. For reporting such a contract in RDTv3’s “unique\_contracts” tab, please follow this instruction:
   1. Select one of the generic resources from RDTv3.resources.resource with a specific type that reflects the generator portion of the hybrid/paired resource.
   2. Follow the instruction for “*marginal\_addition”* field
   3. If this resource has become hybrid/paired by adding storage to an already existing generator listed in the "RDTv3.resources.resource", report the existing resource name in the "marginal\_addition\_to" field
   4. In the "*total\_nameplate\_capacity*" field, report the maximum rate (interconnection capacity) that this hybrid/paired project can deliver. In most cases, this will be less than the generator portion of the hybrid, plus the storage portion of the hybrid.
   5. In the "*contracted\_nameplate\_capacity*" field, report the maximum rate (interconnection capacity) that the LSE can receive from this hybrid/paired project. In most cases, this will be less than the LSE’s generator portion of the hybrid, plus the LSE’s storage portion of the hybrid.
   6. Select the hybrid technology combinations from the drop-down list in the " *is\_hybrid\_paired*" field.
   7. In the "*can\_charge\_from\_grid*", specify if the storage can charge from the grid or if it can only charge from the paired generator.
   8. In the "*total\_generator\_mw*" field, report the nameplate of the generator portion of the resource, in MW (the whole project).
   9. In the "*contracted\_generator\_mw*" field, report LSE’s contracted nameplate of the generator portion of the project, in MW.
   10. In the "*total\_storage\_mw*" field, report the nameplate of the storage portion of the resource, in MW (the whole project).
   11. In the "*contracted\_storage\_mw*" field, report LSE’s contracted nameplate of the storage portion of the project, in MW.
   12. specify solar - if the generator portion is solar - and storage technology types in "*solar\_technology\_sub\_type*" and "*storage\_technology\_sub\_type*”.
   13. In the "*total\_storage\_depth\_mwh*" field, report the storage total depth in MWh (the whole project).
   14. In the "*contracted\_storage\_depth\_mwh*" field, report the storage total depth in MWh that LSE has contracted for.

# CSP fields instructions

For each contract reported in the RDTv3's "unique\_contracts" tab, LSEs need to specify what CSP category the contract falls under and also report the associated MW or GWh for the CSP's study years: 2024, 2026, 2030, and 2035. After filling out the RDT, the LSE should copy the numeric values from the "CSPReportSheet" tab from the RDTv3 directly into the "Supply Inputs" tab of the CSP workbook using the “paste values” option in Excel. Resources, including dedicated imports, count towards an LSE’s CSP portfolio only if their power output is delivered to (1) a California Balancing Authority area, if RPS- eligible, or (2) the CAISO system if the resource is not RPS-eligible. The CSP tab is not required for *IRP Procurement Compliance filings.*

1. This CSP portfolio includes:
   1. RPS-eligible delivered resources (whether within CAISO or a dedicated import; includes RPS Bucket 1 and any other RPS-eligible resources that meet the criteria to qualify as RPS Bucket 1 except for the contract execution date of the resource)
   2. Large hydro within CAISO
   3. Dedicated imports of Pacific Northwest hydro (under control of an Asset Controlling Supplier)
   4. Nuclear (whether within CAISO or a dedicated import)
   5. Coal (dedicated import)
   6. Shed demand response (load shedding at peak)
   7. Standalone Battery storage
   8. Pumped hydro storage
   9. Hybrid or paired solar and battery resources
   10. Generation with a defined hourly profile that:
       1. Does not fit into one of the categories above, and
       2. Does not produce GHG emissions
   11. Standalone storage with a defined hourly profile that:
       1. Does not fit into one of the categories above
2. The CSP portfolio excludes:
   1. Dispatchable gas resources (combined cycle, combustion turbine, etc.)
   2. Unspecified imports
   3. Gas-fired combined heat and power

For each contract in the "unique\_contracts" tab, select the appropriate CSP category in the “csp\_resource\_category” column according to A and B above.

* The available CSP categories are: Large Hydro (GWh); Imported Hydro (GWh); Asset Controlling Supplier (GWh); Nuclear (GWh); Biogas (GWh); Biomass (GWh); Geothermal (GWh); Small Hydro (GWh); Wind Existing California (GWh); Wind New PG&E (GWh); Wind New SCE SDG&E (GWh); Wind Pacific Northwest (GWh); Wind Wyoming (GWh); Wind New Mexico (GWh); Wind Offshore Morro Bay (GWh); Wind Offshore Humboldt (GWh); Solar Existing California (GWh); Solar New PG&E (GWh); Solar New SCE SDG&E (GWh); Solar Distributed (GWh); Hybrid or paired solar and battery (GWh); Shed DR (MW); Pumped Storage (MW); Battery Storage (MWh Energy Capacity); Storage Resource Custom Profile (MW); RPS Resource Custom Profile (GWh); GHG-free non-RPS Resource Custom Profile (GWh); Coal (GWh)
  + A resource is considered “existing” in the CSP calculator if it is a baseline resource or, in the case of planned existing, is expected to be a baseline resource, in the RDT “resources” tab.
* The CSP categories have different units based on resource type (as specified for each)
  + Installed capacity for shed demand response, pumped hydro, and storage resource custom profile (MW)
  + Installed discharge depth for standalone batteries (MWh Energy Capacity)
  + and annual energy for all other resources (GWh)
* After choosing the CSP category, LSE must report the projects delivery for the CSP's study years: 2024, 2026, 2030, and 2035 based on the specified unit. Leave the study year fields blank if the CSP category is “NA”.
  + There are for columns in the "unique\_contracts" tab to cover the CSP's study years: csp\_annual\_2024, csp\_annual\_2026, csp\_annual\_2030, csp\_annual\_2035.
* For resources that must be excluded from CSP portfolio based on A and B above (e.g. unspecified imports, Combined Cycle Gas Turbine Power Plant, etc.), please select “NA” for the CSP category. Please do not leave this field blank.

# Reliability worksheet instructions

The purpose of the "Reliability" worksheet is to inform whether there are sufficient capacity contracts to meet each LSE’s reliability needs. The Reliability worksheet is not required for *IRP procurement compliance filings*. The worksheet is organized as follows:

|  |  |
| --- | --- |
| **Section Name** | **Instructions** |
| MMT | Dropdown list of GHG scenarios for 2035: 30MMT and 25MMT. Please select the appropriate scenario for each RDT. |
| Reliability Need | Please enter LSE’s % share of the CAISO managed coincident peak that staff released on 7/1/22.  Note: Since marginal ELCCs are used in the RDT, the total reliability need is adjusted to represent the marginal need. |
| BTM PV | Please enter the installed capacity values based on LSE’s allocation that staff released on 7/1/22. |
| ELCC (%) | No LSE inputs required. This section pulls in marginal ELCCs (%) from the “misc” worksheet based on the MMT scenario selected. Staff will provide these ELCCs (%) in the final release. |
| Contract ELCC (MW) | This section aggregates contract ELCCs calculated in the “Calcs” worksheet. Please follow the instruction in the "Calcs" worksheet so that all contracts are included in the reliability calculation. For more details on the logic used in the “Calcs” worksheet, please see paragraphs below. |
| Load and Resource Table by Resource Type | Summary table and chart. No LSE inputs required. |
| Load and Resource Table by Contract Status | Summary table and chart. No LSE inputs required. |

LSEs should be aware for their planning purposes that contracts with “EnergyCapacity” and “CapacityOnly” under the “buying\_energy\_capacity” column in the “unique\_contracts” worksheet are considered capacity contracts. Contracts with “EnergyOnly” are not considered capacity contracts and will get zero ELCC vales in the reliability calculations. For a capacity contract to contributes to the LSE’s reliability needs in a specific year, the contract start date must be on or before June 1st of that year and the end date must be on or after October 1st of that year. Also, capacity contracts with “sell” under the “buy\_sell\_own” column in the “unique\_contracts” worksheet are subtracted from the total available capacity to meet the LSE’s reliability need. LSEs should enter positive numbers under columns related to contract capacities in the “unique\_contracts” worksheet; the “Calcs” worksheet automatically subtracts “sell” contracts.

Contracts with “NotHybrid” under the “is\_hybrid\_paired” column in the “unique\_contracts” worksheet are considered standalone contracts. Contracts with other entries are considered hybrid/paired contracts. The ELCC of a standalone contract is calculated by multiplying the “contracted\_nameplate\_capacity” with the ELCC % value of the corresponding ELCC type of the “resource”. For a standalone storage contract, its ELCC type is based on the storage duration, which is determined by “contracted\_nameplate\_capacity” and “contracted\_storage\_depth\_mwh”. Storage durations that are not integers (for example, 4.5 hours) are rounded down to the nearest integer (4 hours in this example). Contracts with durations greater than or equal to 9 hours have the same ELCC % values as 8-hour storage. They are grouped under “8hr\_batteries” in the summary tables and charts. The ELCC % for contracts with durations less than 4 hours are calculated by multiplying the 4-hour storage ELCC % with a derate based on contract duration and the 4-hour duration. These contracts are grouped under “4hr\_batteries” in the summary tables and charts.

The ELCC of a hybrid/paired contract is the sum of the generator ELCC and the storage ELCC, subject to certain considerations as follows. The generator ELCC is calculated by multiplying the “contracted\_generator\_mw” with the ELCC % value of the corresponding ELCC type of the “resource”. The storage ELCC is calculated by multiplying the “contracted\_storage\_mw” with the ELCC % value of the corresponding ELCC type of the storage duration, which is determined by “contracted\_storage\_mw” and “contracted\_storage\_depth\_mwh”. Storage durations that are not integers (for example, 4.5 hours) are rounded down to the nearest integer (4 hours in this example). Contracts with durations greater than or equal to 9 hours have the same ELCC % values as 8-hour storage. The ELCC % for contracts with durations less than 4 hours are calculated by multiplying the 4-hour storage ELCC % with a derate based on contract duration and the 4-hour duration.

The storage ELCC of a hybrid contract (i.e. a contract with “NO” under “can\_charge\_from\_grid”) may be subject to a cap on its capacity contribution if it is a solar-storage or wind-storage contract and does not meet a minimum threshold of generator to storage MW ratio. For solar-storage contracts, the minimum generator MW (as % of 4-hr storage MW) is 100%. For wind-storage contracts, the minimum is 200%. If a contract does not have enough generator capacity to meet the threshold, the storage capacity used in the ELCC calculation is derated to the maximum capacity that meets the threshold.

In addition to potential storage ELCC derates for hybrid contracts, the ELCCs of hybrid/paired contracts may be limited by their interconnection capacity. The “contracted\_nameplate\_capacity” represents the interconnection capacity of a hybrid/paired contract and thus limits the maximum ELCC of the contract. When the sum of the generator ELCC and the storage ELCC is greater than the “contracted\_nameplate\_capacity”, the final ELCC of this contract is equal to the “contracted\_nameplate\_capacity”.

For contracts with an “elcc\_type” of “unspecified\_import” (see the “resources” worksheet for “elcc\_type”), LSEs should enter the contracted firm MW in the “contracted\_nameplate\_capacity” column in the “unique\_contracts” worksheet since “unspecified\_import” has 100% ELCC.

Contract status is not directly used in any reliability calculation (i.e. the ELCC of a contact is not impacted by its contract status), but it is used for grouping in one of the summary tables in the “Reliability” worksheet to show LSE’s capacity position.

# Error Checking Macro Instructions

**LSEs are required to run the macro resulting in an error-free ReportSheet before their final submission.**

* 1. **Recommendations:**
* Because Excel’s undo feature does not revert changes made by macros, it is highly recommended that a backup version of RDTv3 file is saved before running the macro.
* It is not recommended to have other Excel documents open when running the macro, as conflicts can arise.
* Most errors arise when a required field of data has been left blank. It is recommended that LSEs review each of the requirements for the different contract attributes when error-checking.
* If the macro takes a long time to complete (i.e., more than 1 to 2 minutes) or any errors are shown for rows that contain no contract data, check for any invisible characters have been inadvertently pasted/entered on the “unique\_contracts” tab. LSEs are again reminded to paste data into the RDT as values only.
* The Visual Basic rdt\_v3\_0\_error\_checker project has intentionally been left unlocked so that LSE may, separate from their official submissions, suggest corrections to the code.

1. **Instructions:**
2. Once contract data has been entered in the RDTv3, go to the “README” tab and click on the button titled **Run error check macro.**
   1. If no errors are encountered with the macro itself, the “ReportSheet” tab should be shown. If the macro encounters an error, a message box will be shown describing which sub procedure the error occurred in. Note that the logic for each sub procedure is outlined below.
   2. The macro can be rerun as many times as needed following to above steps. Each time, it will automatically clear the ReportSheet of previous errors and recheck for errors.
3. Due to the diversity of submissions and nature of Visual Basic for Applications projects in Excel, some errors in the macro are likely to eventually be identified. If such an error occurs, LSEs are instructed to send staff an email with an attached RDTv3 showing example inputs that recreate the error only.
4. Do not make any changes the VBA code or formulas for official data submissions.
   1. **Macro Report tab:**

The following table describes the RDTv3 ReportSheet fields and a description of the entry errors it will identify:

|  |  |  |
| --- | --- | --- |
| **RDT ReportSheet field** | **Description** | **Involved unique\_contracts Fields** |
| **Duplicated Contract IDs** | The macro has detected one or more duplications of an entered contract ID or a blank ID. Returns Contract IDs. | 1. lse\_unique\_contract\_id |
| **Entry with non-positive values** | The macro has detected negative values in a numeric column. Returns column name and row. As noted in section 3, all the values should be entered as positive numbers (even when the contract is a sale). | 1. total\_nameplate\_capacity 2. contracted\_nameplate\_capacity 3. sep\_contracted\_mw\_nqc 4. contract\_gwh\_annual 5. total\_generator\_mw 6. contracted\_generator\_mw 7. total\_storage\_mw 8. contracted\_storage\_mw 9. total\_storage\_depth\_mwh 10. contracted\_storage\_depth\_mwh 11. COD\_year 12. COD\_month 13. COD\_day 14. contract\_start\_date\_year 15. contract\_start\_date\_month 16. contract\_start\_date\_day 17. contract\_end\_date\_year 18. contract\_end\_date\_month 19. contract\_end\_date\_day 20. contract\_execution\_date\_year 21. contract\_execution\_date\_month 22. contract\_execution\_date\_day 23. tx\_upgrade\_date\_year 24. tx\_upgrade\_date\_month 25. tx\_upgrade\_date\_day 26. mtr\_tranche1\_NQC 27. mtr\_tranche2\_NQC 28. mtr\_tranche3\_NQC 29. mtr\_tranche4\_NQC\_LDES 30. mtr\_tranche4\_NQC\_firm\_ZE 31. previous\_COD\_year 32. previous\_COD\_month 33. previous\_COD\_day 34. csp\_annual\_2024 35. csp\_annual\_2026 36. csp\_annual\_2030 37. csp\_annual\_2035 |
| **Invalid resource error rows** | The macro has detected values in the resource column that are not in the resources tab’s resource field. Returns row numbers. | 1. resource |
| **Rows missing required project viability associated data** | The macro has detected a contract row lacks one or more of the required values in the viability fields. Returns row numbers. As noted in the instruction, these fields are only necessary for projects not online yet. | 1. viability\_cod\_reasonableness 2. viability\_technical\_feasibility 3. viability\_financing\_sitecontrol |
| **Rows missing required hybrid associated data** | The macro has detected a contract row lacks one or more of the required values in a hybrid-related fields. Returns row numbers. | 1. can\_charge\_from\_grid 2. contracted\_generator\_mw 3. contracted\_nameplate\_capacity 4. contracted\_storage\_depth\_mwh 5. contracted\_storage\_mw 6. is\_hybrid\_paired 7. total\_generator\_mw 8. total\_nameplate\_capacity 9. total\_storage\_depth\_mwh 10. total\_storage\_mw |
| **Supertype Contract Status Error or Null Rows** | The macro has detected that a contract row has an invalid entry in the contract\_status field or lacks an entry in one or more of the other required fields. Returns row numbers. | **specifiedimport**   1. contract\_status: online, plannedexisting   **physical**   1. contract\_status: online, development, plannedexisting   **unbundledrec**   1. contract\_status: online, plannedexisting 2. **newresolve, newgeneric, or newloadmod** 3. contract\_status: online, plannedexisting, 4. **existinggeneric, unspecifiedimport, unspecifiednonimport** 5. contract\_status: online, plannedexisting 6. **supplierschoice** 7. contract\_status: online, plannedexisting |
| **Transaction counterparty error rows** | The macro has detected that a contract row is marked as “buy” or “sell” but no counterparty was provided. Returns row numbers. | 1. buy\_sell\_own 2. counterparty |
| **Rows missing CSP GWh** | The macro has detected that a contract row is marked as a CSP category but lacks any entries in the csp\_annual\_YYYY fields. Returns row numbers. | 1. csp\_resource\_category 2. csp\_annual\_2024 3. csp\_annual\_2026 4. csp\_annual\_2030 5. csp\_annual\_2035 |
| **Rows with invalid buying\_energy\_capacity and csp\_resource\_category:** | The macro has detected that a contract row meets the following conditions:   1. the csp\_resource\_category field is marked as a CSP category other than “NA” or blank. 2. The buying\_energy\_capacity field is marked as CapacityOnly 3. The selected csp\_resource\_category category is not a form of storage | 1. the csp\_resource\_category 2. buying\_energy\_capacity |
| **Rows missing MTR NQC** | The macro has detected that a contract row is marked as meeting MTR compliance, but lacks any entries in the mtr\_tranche#\_NQC fields. Returns row numbers. | 1. d2106035\_tranche 2. mtr\_tranche1\_NQC 3. mtr\_tranche2\_NQC 4. mtr\_tranche3\_NQC 5. mtr\_tranche4\_NQC\_LDES 6. mtr\_tranche4\_NQC\_firm\_ZE |
| **Warning-total capacity is equal to or greater than generator plus storage MWs for rows** | This is a warning (not an error) occurs when for hybrid/paired contracts when:  **total\_nameplate\_capacity**  >=  **total\_generator\_mw** +  **total\_storage\_mw**  Returns row numbers. | 1. total\_nameplate\_capacity 2. contracted\_generator\_mw 3. contracted\_storage\_mw |
| **Warning-contract with NQC equal to or greater than contracted capacity MWs:** | This is a warning (not an error) occurs when:  **sep\_contracted\_mw\_nqc >= contracted\_nameplate\_capacity**  Returns row numbers. | 1. sep\_contracted\_mw\_nqc 2. contracted\_nameplate\_capacity |

**11.4 Macro Logic**

1. rdt\_v3\_error\_checker
   1. Checks that the required worksheets are in the workbook (no worksheets have been removed/renamed).
   2. Activates the other sub procedures
   3. Error handling
2. get\_unique\_contracts\_data
   1. Creates dictionaries of the data entered into the unique\_contracts tab.
3. get\_resources\_data
   1. Creates dictionaries of the data on the resources tab for reference.
4. create\_reports
   1. Checks if ReportSheet exists.
      1. If not, creates a tab with the name.
      2. If so, clear the contents from the tab.
   2. Adds and formats headers
5. check\_values
   1. checks that all entered values in numeric fields are positive
6. get\_super\_type
   1. Determines the supertype for each resource entered and pastes to macro\_supertype field
7. check\_resources
   1. Flags any duplicated contract IDs
8. check\_duplicated\_ids
   1. Creates dictionary of the used contract IDs, creates array of any IDs appearing more than once or left blank. Prints array
9. check\_viability
   1. checks that any projects with contract\_staus “development" or "plannednew" have values in all viability fields.
10. check\_hybrid
    1. Checks that any field flagged as a hybrid contains an entry in the hybrid fields described in 11.2.
    2. Checks if total capacity is greater than or equal to total generator plus total storage—prints warning for non-conforming row numbers in the ReportSheet
11. check\_super\_status
    1. Checks that the contract\_status field and other required fields of the contract complies the supertype as described in
12. check\_transaction
    1. If contract marked as “buy” or “sell”, checks that counterparty was provided.
13. check\_csp\_year
    1. Reports any contracts that do now have entries incsp\_resource\_category
14. check\_d2106035\_tranche
    1. Reports any d2106035 contracts that lack entries into one of the mtr\_yyyy\_nqc columns

# MTR NQC Validation Tool and Summary

The purpose of the addition of the *mtr\_nqc\_validation\_tool* and *mtr\_nqc\_summary* tabs are to allow each LSE to describe how contracts are used to satisfy its mid-term reliability obligations. LSEs are also required to include and provide information in the RDTv3 for any projects intended to meet D.21-06-035 (the Mid-Term Reliability, MTR, Procurement Decision) and D.23-02-040 (The Supplemental MTR Procurement Decision). LSEs should include information for all applicable columns in the RDTv3. Information on these resources should be filed in the same RDT and LSEs should follow all instructions above regarding milestone reporting and the table of contents cover pages. The following constitutes additional instructions to follow for D.21-06-035 and D.23-02-040 resources.

Each row in the *mtr\_nqc\_validation\_tool* represents the contribution of the contract towards meeting respective obligation in a given tranche. In other words, a separate row is required for each instance where a contract is used per MTR tranche.

Please see step by step instructions below:

|  |  |  |
| --- | --- | --- |
| **Steps** | **Column Name** | **Instructions** |
| **1** | n/a | **Sheet: mtr\_nqc\_validation\_tool**  Once the RDT values are entered on the "**unique\_contracts**" tab, go to the "**mtr\_nqc\_validation\_tool**" tab  Note: LSE must first complete the RDT on "unique\_contracts" tab of their RDT as instructed in the LSE filing requirements document.  Please note: the contracts that LSEs enter on their RDT will carry over to the next two tabs used to validate NQCs "mtr\_nqc\_validation\_tool" and "**mtr\_nqc\_summary**." Any errors made to the RDT will flow to the NQC validation portions of the RDT.  The remaining instructions are applicable only to D.21-06-035 and D.23-02-040 contracts (LSEs are instructed to not complete the steps listed below for contracts that are only being used for D.19-11-016 compliance. If an LSE is using excess D.19-11-016 capacity for compliance with D.21-06-035 and/or D.23-02-040, just the excess capacity portions should be completed).  Open the **mtr\_nqc\_validation\_tool tab**  LSEs are required only to fill out blue cells. Other colors will be automatically updated.  Please note that contracts used for Diablo Canyon Replacement requirements may require entry of several additional data fields (*p50\_annual\_mwh\_he\_17, p50\_annual\_mwh\_post\_he\_17, round\_trip\_efficiency, engineering\_assessment\_confirmation)*. |
| **2** | ***lse\_unique\_contract\_id*** | **LSE Contract Selection: *lse\_unique\_contract\_id column***  In the "mtr\_nqc\_validation\_tool" tab, start by selecting the first applicable contract from the *lse\_unique\_contract\_id* dropdown menu. This drop-down list will populate from the "unique\_contracts" tab   * Example 1: select the contract "sample\_1\_non-hybrid" in  *lse\_unique\_contract\_id column* * Example 2: select the contract "sample\_2\_hybrid" in  *lse\_unique\_contract\_id column*   Based on the lse\_unique\_contract\_id the tool will auto-populate the non-blue columns based on inputs from the "unique\_contracts" tab.  Note: unspecified imports used as bridge resources do not need to be inputted into the tool, but other bridge resources should be included. |
| **3** | ***lse\_selected\_mtr\_tranche*** | **LSE Tranche Selection: *lse\_selected\_mtr\_tranche* column**  Select the appropriate tranche from the *LSE\_Selected\_Tranche* dropdown menu.  The selected tranche for the contract specifies how the contract will count towards D.21-06-035 and D.23-02-040 compliance year/Tranche. For more information about which Tranche to select, please see CPUC Staff guidance on ELCCs available on the IRP Procurement Track website.  If any portion of the contract is for Diablo Canyon Replacement, please select “DCR\_tranche\_1”, “DCR\_tranche\_2”, “DCR\_tranche\_3”.  Note: DCR procurement also counts towards the general annual requirements. Rows where a project is being counted towards the DCR requirement will automatically be counted towards general. It is not necessary to fill out separate rows for each of these targeted obligations.  **Note: DCR procurement counts towards the total annual requirement and will be re-summed into general procurement in the “mtr\_nqc\_summary” tab**  **Non-hybrid example:**   * Example 1: for the contract "sample\_1\_non-hybrid" the LSE is using this for Tranches 1 and 2. The LSE should select tranche\_1 for one row and tranche\_2 for the second row.   **Hybrid example:**   * Example 2: for the contract "sample\_2\_hybrid" the LSE is using this for DCR (as part of its Tranche 1 general obligation) and general procurement towards Tranche 1. The LSE should select DCR\_tranche\_1 for one row and DCR\_tranche\_2 for second row. * Example 3: for the contract "sample\_3\_hybrid" the LSE is using this for DCR (as part of its Tranche 1 general obligation) and general procurement towards Tranches 1 and Tranche 2. The LSE should select DCR\_tranche\_1 for one row and DCR\_tranche\_2 for second row. |
| **4** | ***NON- HYBRID:***  ***%\_nameplate/tranche\_non\_hybrid***  ***OR***  ***HYBRID: %\_nameplate/tranche\_hybrid\_gen***  ***And***  ***%\_nameplate/tranche\_hybrid\_storage*** | **LSE Percent of Contract Allocation to Tranche: *%\_nameplate/tranche\_non\_hybrid, %\_nameplate/tranche\_hybrid\_gen, %\_nameplate/tranche\_hybrid\_storage***  In each row, select what percentage of a specific contract nameplate value that will count for the compliance target for the selected tranche identified in step 3.  If the contract is a non-hybrid resource, make entry in the *%\_nameplate/tranche\_non\_hybrid* field*.*  If the contract is a hybrid/paired resources, make entry in the *%\_nameplate/tranche\_hybrid\_gen* and *%\_nameplate/tranche\_hybrid\_storage* fields.  **If a contract is being used for Diablo Canyon Replacement (DCR) ensure that the entered percentages are proportional to amounts used for Diablo Canyon Replacement only.** Failure to allocate the correct proportion can result in contracts being incorrectly flagged for insufficient charging and other issues of noncompliance.   * **Non-hybrid example:** fill in the percentage of the resource that you will be counting for the specified tranche in the *%\_nameplate/tranche\_non\_hybrid*   + *Example 1: LSE\_1 is using 75% of "sample\_1\_non-hybrid" for tranche 2 of its MTR procurement obligation. LSE will type 75 in Column %\_nameplate/tranche\_non\_hybrid in the row labeled tranche\_2 in step 3*   + *Example 2: LSE\_1 is using 25% of "sample\_1\_non-hybrid" for tranche 3 of its MTR procurement obligation. LSE will type 25 in Column %\_nameplate/tranche\_non\_hybrid in the row labeled tranche\_3 in step 3.* * **Hybrid example:** If the resource **is** a hybrid, fill in the percentage of the generation component and the storage component that you will be counting for the specified tranche in *%\_nameplate/tranche\_hybrid\_gen* and *%\_nameplate/tranche\_hybrid\_storage,* respectively.   + *Example 2: LSE\_1 is using 50% of both the generation and storage components of "sample\_1\_hybrid" for tranche 2 of its MTR procurement obligation. LSE will type 50 in Column %\_nameplate/tranche\_hybrid\_gen and 50 in %\_nameplate/tranche\_hybrid\_storage in the row labeled tranche\_2 in step 3.*   + *Example 3: LSE\_2 is using 100% of the generation and 25% storage component of "sample\_2\_hybrid" for DCR\_tranche\_1 of its MTR procurement obligation. LSE will type 100 in column %\_nameplate/tranche\_hybrid\_gen and 75 in column %\_nameplate/tranche\_hybrid\_storage in the row labeled DCR\_tranche\_1 in step 3.*   + *Example 3: LSE\_2 is using 0% of the generation and 75% storage component of "sample\_2\_hybrid" for tranche 1 general procurement of its MTR procurement obligation. LSE will type 0 in column %\_nameplate/tranche\_hybrid\_gen and 75 in column %\_nameplate/tranche\_hybrid\_storage* in the row labeled *tranche\_1 in step 3.* |
| **5** | ***NON- HYBRID:***  ***elcc\_non\_hybrid***  ***OR***  ***HYBRID:***  ***elcc\_hybrid\_gen***  **And**  ***elcc\_hybrid\_storage*** | **LSE ELCC Selection: elcc\_non\_hybrid, OR, elcc\_hybrid\_gen and elcc\_hybrid\_storage columns**  In each row, select from the drop-down the ELCC value.  If the contract is a non-hybrid resource, make entry in the *elcc\_non\_hybrid* column.  If the contract is a hybrid/paired resources, make entry in the *elcc\_hybrid\_gen* and *elcc\_hybrid\_storage* columns  Note: LSEs **must** select an ELCC from the drop-down list. ELCCs values are available in the “misc” tab.  **Non-Hybrid example:** If the resource **is** not a hybrid, fill in Column elcc\_non\_hybrid with the correct ELCC value.   * *Example 1: "sample\_1\_non-hybrid" is a standalone 4-hour storage project that an LSE is using for tranche 2 of its MTR procurement obligation. The LSE signed the contract* ***after*** *November 30, 2022 and selects the following ELCC: mtr\_2\_post\_nov302022*   **Hybrid example:** If the resource **is** **not** a hybrid, fill in Columns *elcc\_hybrid\_gen* and *elcc\_hybrid\_storage* with the correct ELCC value.   * *Example 2: "sample\_2\_hybrid" is solar+storage project that an LSE is using for tranche 2 of its MTR procurement obligation. The LSE signed the contract* ***after*** *November 30, 2022. In column elcc\_hybrid\_gen*   , the LSE selects "solar\_2024-mtr\_2\_post\_nov302022," and in Column elcc\_hybrid\_storage the LSE selects "mtr\_2\_post\_nov302022". |
| **6** |  |  |
| ***p50\_annual\_mwh\_he\_17*** | **DCR ONLY: P50 Engineering Assessment MWH *p50\_annual\_mwh\_he\_17 column***  For DCR contracts providing charging for storage only, enter the contract’s sum of MWhs prior to hour-ending (HE) 17:00 in the *p50\_annual\_mwh\_he\_17* column. **These values should be taken from an engineering assessment.**  If an engineering assessment has not been completed yet, use an approximate value. |
| 7 | ***p50\_annual\_mwh\_post\_he\_17*** | **DCR ONLY: POST HE 17:00 MWh *p50\_annual\_mwh\_post\_he\_17 column***  For DCR contracts with generation post hour-ending (HE) 17:00, enter the MWH value here. |
| 8 | ***round\_trip\_efficiency*** | **DCR ONLY: Round Trip Efficiency (RTE): *round\_trip\_efficiency*** For contracted storage and hybrid projects, enter the round-trip efficiency percentage. |
| 9 | ***engineering\_assessment\_confirmation*** | **DCR ONLY: Engineering Assessment Status *engineering\_assessment\_confirmation***  For Diablo Canyon Replacement Resources, in the *engineering\_assessment\_confirmation* field select “TRUE” if an engineering assessment has been completed and submitted in the IRP compliance filings, or “FALSE” if an engineering assessment has not been completed and/or submitted in the IRP compliance filings. |
| 10 |  | **LSE Error Review**  LSE can self check the NQC calculation inputs for error flags by reviewing the following columns:  In the “mtr\_nqc\_validation\_tool” tab:   * **ELCC Resource type matches resource type of the contract:** *elcc\_match\_resource\_type\_non\_hybrid* and *elcc\_match\_resource\_type\_hybrid\_gen* columns   + These columns compare the LSE selected ELCC to the resource type in *elcc\_non\_hybrid\_resource* and *elcc\_hybrid\_gen\_resource.* A ‘False’ indicates the LSE selected ELCC does not match the resource type   In the “mtr\_nqc\_summary ” tab:   * **Nameplate Percent Allocation:** % nameplate/tranche non hybrid, % nameplate/tranche hybrid gen, % nameplate/tranche hybrid storage   + These columns sum the percent of the nameplate allocated in every row of a contract in the “mtr\_nqc\_validation\_tool” tab, if this value is over 100%, the LSE has over allocated the contract nameplate value across tranches. |
| **11** | calculated\_general\_nqc\_total  OR  *dcr\_total\_nqc* | **Final NQC Value Comparison to “Unique\_contracts” tab**  LSEs should repeat steps 1-9 for every contract and every tranche in which the contract will be counted towards for their IRP procurement obligations.   * The *calculated\_general\_nqc\_total* value and *dcr\_total\_nqc* value should then be compared to or inputted to the “unique\_contracts” tab columns for each contract for each tranche. * The *dcr\_total\_nqc* value should then be compared to or inputted to the “unique\_contracts” tab column *mtr\_NQC\_ZE\_gen\_paired\_dr* in the “unique\_contracts” tab   Once the LSE has inputted the NQC values in the “unique\_contracts” tab, return to the “mtr\_nqc\_summary ” tab and check the  *reported<= NQC tool calculated* column: **‘FALSE’** here indicates that the general procurement NQC values reported in the unique\_contracts tab sums to a total greater than what was calculated in the NQC validation tool. This could indicate an error in LSE reporting the NQC value in the Unique\_contracts tab.  Note: the summary tab will not include any resources not inputted into the mtr\_nqc\_validation\_tool and will result in undercounting of NQC in the summary table if LSE has additional resources intended to be used for compliance. LSEs will need to manually add in the NQC values not included in the mtr\_nqc\_validation\_tool, such as unspecified imports, to accurately assess compliance. Similarly, inclusion of bridge resources in the mtr\_nqc\_validation\_tool may make an LSE appear over-procured for a specific tranche in this summary table. |
| **12** |  | **(Optional) LSE MTR Compliance Summary Review: “mtr\_nqc\_summary” tab**  Go to the " mtr\_nqc\_summary " tab.  In cell B3, select the abbreviation for your specific LSE from the dropdown. Note: ESPs will need to manually enter their procurement obligations in cells D3-J3; please overwrite the formulas here. |
|  | LSEs should look at the summary table at the top of this tab to see if the NQC reported in the RDT is a close match to the workbook's calculated NQC. |
|  | Please note: the NQC calculation methodology is complex and this workbook may not be able to perfectly capture every LSE's situation. LSEs are permitted to submit this workbook with discrepancies between the calculated and reported NQC as long as the LSE has investigated the discrepancy and is confident in their reporting. Where there are significant discrepancies, Energy Division Staff will likely reach out to LSEs for an explanation. LSEs should investigate any discrepancies before submittal.  If an LSE has a pending compliance trade, pursuant to D.23-02-040, they should include the NQC MW value in the corresponding Tranche where the LSE has filed an Advice Letter or plans to file one. If an LSE is taking on additional procurement in one tranche, it should enter a positive (+) number. If it is removing part of its procurement obligation, it should enter a negative (-) number.   * **Example:** if an LSE proposed to trade 5 MW of compliance with an LSE such that its Tranche 2 obligation would increase by 5 MW and its Tranche 5 obligation decrease by 5 MW, it would enter 5 in cell E12 and –5 in cell H12. Please note: LSEs must enter a numeric value, and correctly make the number positive and negative. |
|  | Please note, the tool and the information included represent IRP staff’s understanding of CPUC Decisions and expected MTR NQC methodology. It is possible that your reported NQC may differ from the Tool’s calculated NQC due to different methodology assumptions. CPUC Decisions are the official directions of the Commission, and Energy Division staff may not modify Decisions. This tool will help staff better comply with official Commission Decisions and any outputs should not be taken as final NQC values or compliance decisions. |
|  | This template includes a number of columns with TRUE/FALSE flags. These are intended to expedite staff review of these workbooks. LSEs do not need to clear all error flags prior to submission but may use them as an indicator of whether they are using this template correctly. |
|  | For questions about this process, please contact [irpdatarequest@cpuc.ca.gov](mailto:irpdatarequest@cpuc.ca.gov) |
|  |  |  |
|  | | |
| 1 |  | Do not paste data unless you are pasting as values. Pasting in any other format will remove formulas and/or conditional formatting currently needed in this workbook. |
| 2 |  | Paste RDT in confidential test tab - update contracts in ELCC - summary tab, column A, if not all show you may need to refresh Excel. Press F9 on keyboard or refresh under data tab |

1. Please note that while CREZ is the old terminology, it basically means transmission zones as per section 4.2.1 of the 2019 the Inputs and Assumptions document. [↑](#footnote-ref-2)